## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-ME-DT-0019 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-2718 |  |  | Transmital Date: 7/13/2024
Document Title: Mechanical Data Sheets For Slug Pumps |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0005-ME-TR-2718 |  |  | Transmital Date: 7/13/2024
[5 empty] | CRS No: PEDCO-CRS-BK-GCS-PEDCO-120-ME-DT-0019_D04 |  |  | CRS Status:
| Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | در اين برهه نقطه نظر خاصي مطرح نمي باشد . صرفا مي بايست نظرات احتمالي ذينفع اصلي پروژه بر روي اين مدرك اعمال گردد.شایان ذکر است با توجه به مفاد 13 شرایط عمومی پیمان, مسئولیت هر نوع نقص و کمبود در نقشه ها و مدارک فنی در محدوده پروژه و در هر مقطع از پروژه اعم از اينكه از سوي كارفرما تاييد شده يا نشده باشد بر عهده پیمانکار است. . |  | BK-SUR-ENG-MEC-03-09487 | 2024-08-31 | نقطه نظر کارفرمای محترم مورد تایید می باشد. همچنین به اطلاع می رساند مطابق مدرک Calculation Pumps تایید شده بخش فرآیند NPSHa به روز رسانی گردیده است.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: M.Fakharian | Signature
| Date: |  |  |  |  | Date: