## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-PR-PI-0001 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-2819 |  |  | Transmital Date: 11/4/2024
Document Title: Symbol & Legend For PFD and P&ID |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0005-PR-TR-2819 |  |  | Transmital Date: 11/4/2024
[5 empty] | CRS No: PEDCO-CRS-BK-GCS-PEDCO-120-PR-PI-0001_D05 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | با اعمال نظرات زیر مدرک مورد تایید می باشد. |  | BK-SUR-ENG-PCS-03-09708 | 2024-11-18 | مورد تایید می باشد.
2 | در بخش Equipment، حروف اختصاری مربوط به Fire Hydrant و Monitor و Deluge Valve مطابق نقشه P&ID ذكر گردد |  | BK-SUR-ENG-PCS-03-09708 | 2024-11-18 | مورد تایید می باشد.
3 | Hose Reel در نقشه P&ID بخش ایمنی با Tag FH نمايش داده شده است |  | BK-SUR-ENG-PCS-03-09708 | 2024-11-18 | در نقشه مربوطه اصلاح می گردد.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: M.Fakharian | Signature
| Date: |  |  |  |  | Date: