Inspection and Test Plan (ITP)

| Rev. | Date | Purpose of Issue | Prepared | Checked | Approved |
| --- | --- | --- | --- | --- | --- |

Revision Index

| Rev.05 | Rev.04 | Rev.03 | Rev.02 | Rev.01 | Rev.00 | Page |  | Rev.05 | Rev.04 | Rev.03 | Rev.02 | Rev.01 | Rev.00 | Page |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 36 |  |  |  |  |  |  | X | 1 |
|  |  |  |  |  |  | 37 |  |  |  |  |  |  | X | 2 |
|  |  |  |  |  |  | 38 |  |  |  |  |  |  | X | 3 |
|  |  |  |  |  |  | 39 |  |  |  |  |  |  | X | 4 |
|  |  |  |  |  |  | 40 |  |  |  |  |  |  | X | 5 |
|  |  |  |  |  |  | 41 |  |  |  |  |  |  | X | 6 |
|  |  |  |  |  |  | 42 |  |  |  |  |  |  | X | 7 |
|  |  |  |  |  |  | 43 |  |  |  |  |  |  |  | 8 |
|  |  |  |  |  |  | 44 |  |  |  |  |  |  |  | 9 |
|  |  |  |  |  |  | 45 |  |  |  |  |  |  |  | 10 |
|  |  |  |  |  |  | 46 |  |  |  |  |  |  |  | 11 |
|  |  |  |  |  |  | 47 |  |  |  |  |  |  |  | 12 |
|  |  |  |  |  |  | 48 |  |  |  |  |  |  |  | 13 |
|  |  |  |  |  |  | 49 |  |  |  |  |  |  |  | 14 |
|  |  |  |  |  |  | 50 |  |  |  |  |  |  |  | 15 |
|  |  |  |  |  |  | 51 |  |  |  |  |  |  |  | 16 |
|  |  |  |  |  |  | 52 |  |  |  |  |  |  |  | 17 |
|  |  |  |  |  |  | 53 |  |  |  |  |  |  |  | 18 |
|  |  |  |  |  |  | 54 |  |  |  |  |  |  |  | 19 |
|  |  |  |  |  |  | 55 |  |  |  |  |  |  |  | 20 |
|  |  |  |  |  |  | 56 |  |  |  |  |  |  |  | 21 |
|  |  |  |  |  |  | 57 |  |  |  |  |  |  |  | 22 |
|  |  |  |  |  |  | 58 |  |  |  |  |  |  |  | 23 |
|  |  |  |  |  |  | 59 |  |  |  |  |  |  |  | 24 |
|  |  |  |  |  |  | 60 |  |  |  |  |  |  |  | 25 |
|  |  |  |  |  |  | 61 |  |  |  |  |  |  |  | 26 |
|  |  |  |  |  |  | 62 |  |  |  |  |  |  |  | 27 |
|  |  |  |  |  |  | 63 |  |  |  |  |  |  |  | 28 |
|  |  |  |  |  |  | 64 |  |  |  |  |  |  |  | 29 |
|  |  |  |  |  |  | 65 |  |  |  |  |  |  |  | 30 |
| Attachments: |  |  |  |  |  |  |  |  |  |  |  |  |  | 31 |
|  |  |  |  |  |  | 1 |  |  |  |  |  |  |  | 32 |
|  |  |  |  |  |  | 2 |  |  |  |  |  |  |  | 33 |
|  |  |  |  |  |  | 3 |  |  |  |  |  |  |  | 34 |
|  |  |  |  |  |  | 4 |  |  |  |  |  |  |  | 35 |

Table of Contents

1.	General	4

1.1.	Introduction	4

1.2.	Definitions	4

1.3.	Purpose of Document	4

1.4.	Site Condition	4

2.	References, Applicable Codes and Standards	4

3.	Abbreviations	4

4.	Inspection Involvement Levels	5

5.	Inspection and Test Plan Activities	5

General

Introduction

Definitions

| Project: |  |
| --- | --- |
| Owner: |  |
| Client: |  |
| Contractor: |  |
| Consultant: |  |
| Vendor: | Tima Kala Tehran Eng Co. Ltd. |

Purpose of Document

Site Condition

References, Applicable Codes and Standards

Abbreviations

| ITP : Inspection and Test Plan | SV: Sub-Vendor |
| --- | --- |
| TPA: Third Party Agency | PIM: Pre-Inspection Meeting |
| TPI: Third Party Inspector | NCR: Non-Conformity Report |
| TCL: Technical Clarification | RN: Release Note |
| FAT: Factory Acceptance Test | PL: Packing List |
| ICOFC: Iranian Central Oil Field Company | NA: Not Applicable |
| COO: Certificate of Origin | MOM: Minutes of Meeting |
| PO : Purchase Orde | COC: Certificate of Conformity |

Inspection Involvement Levels

The abbreviations used throughout this list shall have the meaning noted below

M : Manufacturer’s (Vendor) inspection

WP : Witness point (notification required – Hold on production till Inspector / Purchaser performs witness inspection/test or witnessing waived in writing)

OB : Observation (Notification required –No hold on production inspector to allowed by client to non-attendance during test)

RI : Random inspection

RD : Review of documents IA

NI : No Inspection/Test activity

(This inspection / test activity shall be carried out under the responsibility of Purchaser and final inspection /test report shall be submitted after shipment.)

Inspection and Test Plan Activities

| No | Activity | Test Frequency | Reference Documents | Acceptance Criteria | Verifying Docs | Involved Parties |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Vendor | Contractor/ Purchaser | TPI | Client | - |
| 1 | Document Review | NA | Material Requsition, /PO/ manufacturer reports and certificates/vendor’s engineering documents (IA Docs)based on ITP | NA | Inspection MOM | M | RD | RD | RD | - |
| 2 | Visual Check | 10% | Bill of Material /Catalog for F&G Device / Installation Details for F&G Device / Inspection and Test Procedure | All BOM items shall be available/Model & Part Number conformance /Visual Conformance with relevant documents / free of fractured & scratched part or any damage | Inspection MOM , Signed and Stamped PL | M | RI | RI | RI | - |
| 3 | Dimensional Check | One per type | Catalog for F&G Device / Installation Details for F&G Device/ Inspection and Test Procedure | Dimensional Conformity with relevant documents | Inspection MOM | M | RI | RI | RI | - |
| 4 | Certificate/Approval Check | NA | Hazardous Area Certificate, COO, COC, Calibration/Test report for gas detectors / Inspection and Test Procedure | Validity of related certificates and conformity with related equipment of PO | Signed and Stamped Certificates | M | RD | RD | RD | - |
| 5 | Visual and Quantity Check for Spare Parts and Special tools | NA | Commissioning Spare Part List / Two Years Spare Part List /Calibration Kit and Special Tools List for F&G Device /Inspection and Test Procedure | Quantity Check / visual Check as described in row No.2 | Inspection MOM , Signed and Stamped PL | M | RI | RI | RI | - |
| 6 | Function Check | 10% | Inspection and Test Procedure | Free of fault operation /proper and accurate response to physical parameter it react to | Inspection MOM | M | RI | RI | RI | - |
| 7 | Marking and Packing Check | NA | Packing , Shipping and Marking rocedure | Conformance with approved relevant procedure | Inspection MOM | M | RI | RI | RI | - |