Hirgan Energy

Sub-Vendor List

Your Ref:   BK-GCS-PEDCO-120-IN-MR-0007_D01

Our Ref: 	0327008-Tec-Rev01

| Prepared: | Approved: | Date: |
| --- | --- | --- |
| Sina Sadeghi | Peyman Tajbakhsh | 13 November 2024 |

| Serial | Description | Sub Vendor | Origin |
| --- | --- | --- | --- |
| 1 | Flammable Gas Detector- IRmax | Crowcon | UK |
| 2 | Flammable Gas Detector (Duct Mount)- IRmax Remote Display | Crowcon | UK |
| 3 | Toxic Gas Detector- Xgard IQ | Crowcon | UK |
| 4 | Toxic H2S Gas Detector (Duct Mount)– Xgard IQ | Crowcon | UK |
| 5 | UV/IR Flame Detector - FL500 | MSA | US |
| 6 | Outdoor Fire/Toxic/Flammable Gas Horn | E2S | UK |
| 7 | Outdoor Toxic Gas Blue/Red/Yellow Beacon | E2S | UK |
| 8 | Addressable Safe Area Flashing Beacon (Red) – XP95 | Apollo | UK |
| 9 | H2 Gas Detector -Xgard IQ | Crowcon | UK |
| 10 | Outdoor Manual Call Point | E2S | UK |
| 11 | Addressable Safe Area Manual Call Point-Discovery | Apollo | UK |
| 12 | Linear Heat Detector FT88R- Signaline | Signaline | UK |
| 13 | Addressable Smoke Detector- Discovery | Apollo | UK |
| 14 | Alarm Bell | Bell | UK |
| 15 | Explosion Proof Heat Detector | Oggini | Italy |
| 16 | Addressable Heat Detector-Discovery | Apollo | UK |
| 17 | Remote LED Indicator | Apollo | UK |
| 18 | Smoke/Heat Detector Test Kit | Solo | UK |