| Inspection & Test Plan For Temperature Gauge & Thermowell |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NO | Activity |  | Characteristic be verified | Reference Documents | Acceptance criteria |  | Verifying document | Vendor |  | Third part | contractor |  | Client |  |
|  | PIM |  |  |  |  |  | MOM | H |  | R | H |  | H |  |
|  | Visual Check | Visual Inspection |  | DWG | WPS, DWG | VT Report |  | H | W |  | R | R |  |
|  | Dimensional Check | Control & Inspection |  | - | Eng. Drawing | Drawing Dimensional document |  | H | W |  | R | R |  |
|  | Checking Of Calibration | Calibration Report |  | - | EN 13190 | Report from manufacturer |  | H | R |  | R | R |  |
|  | Degree Of Ingress Protection (IP) Certificate | IP test report from Laboratory E.P.I.L |  | - | 1EC60529 | Certificate |  | R | R |  | R | R |  |
|  | Reshipment Inspection (Packing, Marking, QTY,) | Verification of entirety,correct packing and loading |  | - | Manufacture | Packing List |  | H | R |  | R | R |  |
|  | Issuance Release Note By Third Part |  | - |  | - |  | - | R |  | H | R |  | R |  |