## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-EL-TB-0003 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-2801 |  |  | Transmital Date: 19-OCT-2024
Document Title: TBE For Existent MV Switchgear Expansion, RCP & MV Capacitor Bank |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0307-EL-TR-2801 |  |  | Transmital Date: 19-OCT-2024
[5 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-EL-TB-0003_D04 |  |  | CRS Status: | CM
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 |  |  | كامنت شماره دو مناطق در نامه 391909 مورخ 1403/10/02 |  | پاسخ شرکت تابان تابلو : این شرکت در سطح بالاتری از سطح ولتاژ تابلوهای مورد نیاز پروژه دارای تاییدیه بوده و در لیست بلند سازندگان وزارت نفت وجود دارد (24کیلو ولت) و تکنولوژی ساخت این تابلوها نیز یکی میباشد لذا از آن کارفرمای محترم درخواست دارد تابلوهای تولیدی با سطح ولتاژ 11 و 3.3 را نیز مورد پذیرش قرار دهد.
1 |  |  | MOM-dated 1403.08.21 |  | به پیوست پاسخ های جمع بندی شده سازندگان رانین صنعت و تابان تابلو به صورت جلسه dated 1403.08.21 ارسال میگردد.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: | Signature
| Date: |  |  |  |  | Date: