| Inspection & Test Plan For Pressure Gauges |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NO | Activity | Characteristic be verified | Reference Documents | Acceptance criteria | Verifying document | Vendor | Third part | Contractor | Client |
|  | PIM |  | _ |  | MOM | H | R | H | H |
|  | Material | Material Certificate EN 10204 3.1 | _ | _ | Certificate fromLab as per EN 10204 3.1 | R | R | RA | R |
|  | Visual Check | Visual Inspection | - | DWG | VT Report | H | W | R | R |
|  | Dimensional Check | Control & Inspection | _ | Eng. Drawing | Drawing Dimensional document | H | W | R | R |
|  | Checking Of Calibration | Calibration Report | _ | EN 837 | Report from manufacturer | H | R | R | R |
|  | Accessories Check | Specifications & Catalogue | _ | Manufacture Document | Approved Document | H | W | R | R |
|  | Degree Of Ingress Protection (IP)Certificate | IP test report from Laboratory E.P.I.L | _ | 1EC60529 | Certificate | R | R | R | R |
|  | Reshipment Inspection (Packing, Marking, QTY…) | Verification of entirety,correct packing and loading | _ | Manufacture Procedure | Packing List | H | H | R | R |
|  | Issuance Release Note By Third Part | Packing List, Catalogue, Material Certificate, |  |  |  | R | H | R | R |
|  | Final Data Book |  |  |  |  | H | RA | RA | RA |