## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-PPL-PEDCO-320-IN-DT-0006 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-2833 |  |  | Transmital Date: 13-Nov-2024
Document Title: Data Sheets For ON/OFF & Shutdown Valves |  |  |  |  | NISOC Tr. No.: BK-PEDCO-NISOC-0308-IN-TR-2833 |  |  | Transmital Date: 13-Nov-2024
[5 empty] | CRS No: NISOC-CRS-BK-PPL-PEDCO-320-IN-DT-0006_D04 |  |  | CRS Status: | CM
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 |  |  |  |  | مقدار Design Pressure و shut-off Pressure مطابق مدرک PMS در نظر گرفته شده اند که متفاوت با مدرک P&ID پروژه میباشد، در این نسخه این مقادیر مطابق P&ID اصلاح وبروز رسانی گردیدند. لازم به ذکر است مدرک PMS بسته خط لوله متعاقبا توسط بخش PIPINGبروز رسانی می گردد.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: S.Akbari | Signature |  |  |  | Clarified By: M.Fakharian | Signature
| Date: 30 Nov 2024 |  |  |  |  | Date: