## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-SA-PY-0003 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-2741 |  |  | Transmital Date: 04-Aug-2024
Document Title: Fire Proofing Zone Layout |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0305-SA-TR-2741 |  |  | Transmital Date: 04-Aug-2024
[5 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-SA-PY-0003_D03 |  |  | CRS Status: | CM
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 |  |  | 03-2294-387046 | 1403/09/27 | لزوم fireproofing برای هرکدام از ادوات جدول همراه با criteria مربوطه برای fireproofing آورده شد. همچنین تجهیزاتی که در جدول نبودند ولی نیاز به fire proofing داشتند نیز اضافه گردید.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: M.Fakharian | Signature
| Date: |  |  |  |  | Date: