## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-PPL-PEDCO-320-IN-BD-0001 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-2215 |  |  | Transmital Date: 20-Jun-2023
Document Title: Block Diagram Configuration For Control/ESD/F&G System |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0203-IN-TR-2215 |  |  | Transmital Date: 20-Jun-2023
[5 empty] | CRS No: NISOC-CRS-BK-PPL-PEDCO-320-IN-BD-0001_D06 |  |  | CRS Status: | C1
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | نظر خاصی مطرح نبوده، بدیهی است که مسئولیت تطابق مدارک اصلاحی با نقطه نظرات کارفرما و همجنین صحت و کفایت محتوای کلیه مدارک اسالی مطابق شرح خدمات و استانداردIPS و دیگر مدارک پروژه بر عهده پیمانکار بوده و نقطه نظرات کارفرما رافع مسئولیت پیمانکار نمی باشد. |  | 02/2294/155142 | 1402/04/21 | مدرک نهایی گردید و تنها اصلاح آن مربوط به تغییر عملگر باز و بسته کردن شیرها از حالت PUSH BUTTON به حالت SWITCH می باشد.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: S.Akbari | Signature |  |  |  | Clarified By: | Signature
| Date: 2 Jul 2023 |  |  |  |  | Date: