## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-IN-DG-0003 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-1746 |  |  | Transmital Date: 31-Dec-2022
Document Title: ESD Level Hierarchy |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0110-IN-TR-1746 |  |  | Transmital Date: 31-Dec-2022
[5 empty] | CRS No: NISOC-CRS-BK-GCS-NISOC-120-IN-DG-0003_D02 |  |  | CRS Status: | C3
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | در خصوص کلیت مدرک فوق، نظر خاصی مطرح نبوده لیکن با توجه به عدم نهایی سازی مدرک ESD Philosophy اظهار نظر نهایی در خصوص مدرک فوق منوط به نهایی سازی مدرک پیش گفته است. |  | 1401-2294-422506 | 1401/11/05 | مطابق آخرین P&ID و سایر مدارک مهندسی به روز رسانی شد.
2 | بدیهی است که مسئولیت تطابق مدارک اصلاحی با نقطه نظرات کارفرما و همچنین صحت و کفایت محتوای کلیه مدارک ارسالی مطابق شرح خدمات و استانداردهای تصریح شده در اسناد مناقصه، استانداردهای IPS و دیگر مدارک پروژه بر عهده پیمانکار بوده و نقطه نظرات کارفرما رافع مسئولیت پیمانکار نمی باشد. |  | 1401-2294-422506 | 1401/11/05 | مطابق آخرین P&ID و سایر مدارک مهندسی به روز رسانی شد.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: S.Akbari | Signature |  |  |  | Clarified By: | Signature
| Date: 18 Jan 2023 |  |  |  |  | Date: