## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-PPL-PEDCO-320-IN-MR-0001 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-2685 |  |  | Transmital Date: 08/MAY/2024
Document Title: PMR For Control System/ESD |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0302-IN-TR-2685 |  |  | Transmital Date: 08/MAY/2024
[5 empty] | CRS No: NISOC-CRS-BK-PPL-NISOC-320-IN-MR-0001-D01 |  |  | CRS Status: | CM
| Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
Mechanical Comments :
QC comments :
1 | مدارک SPECIFICATION FOR CONTROL SYSTEM, INSTRUMENT & CONTROL SYSTEM DESIGN CRITERIA , QUALITY CONTROL PLAN (QCP) به مدارک مرجع اضافه گردد. |  | 03-2294-92930 | 1403/03/09 | دو مدرک اول به لیست مراجع اضافه شد. در مورد مدرک QUALITY CONTROL PLAN (QCP)، این مدرک از لیست BINAK-DCI حذف شده است. و به جای آن مدارک دستورالعمل بازرسی خرید و ساخت کالا و دستورالعمل سطح بازرسی کالا و تجهیزات ، مطابق رویه NISOC به کلیه MR ها اضافه شده است.
* | بدیهی است که مسئولیت تطابق مدارک اصلاحی با نقطه نظرات کارفرما و همچنین صحت و کفایت محتوای کلیه مدارک ارسالی مطابق شرح خدمات و استانداردهای تصریح شده در اسناد مناقصه، استانداردهای IPS و دیگر مدارک پروژه بر عهده پیمانکار بوده و نقطه نظرات کارفرما رافع مسئولیت پیمانکار نمی باشد. |  | 03-2294-92930 | 1403/03/09 | ملاحظه شد.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: | Signature
| Date: |  |  |  |  | Date: