## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-HV-MT-0002 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-2932 |  |  | Transmital Date: 01/FEB/2025
Document Title: MTO For HVAC & Plumbing For Extension of Existing Elect. Building |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0311-HV-TR-2932 |  |  | Transmital Date: 01/FEB/2025
[5 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-HV-MT-0002-D02 |  |  | CRS Status: | CM
| Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | عطف به نامه شماره 154168 مورخ 1403/04/24 این امور مجدداً تاکید می گردد با توجه به عنوان و ماهیت مدرک فوق، تجهیزات سیستم HVAC در مدرک درج گردد. بدیهی است ارائه اطلاعات فنی تجهیزات در سایر مدارک رافع موضوع فوق در مدرک MTO نمی باشد. شایان ذکر است با عنایت به گذشت حدود 7 ماه از اعلام نظر این امور بر نسخه پیشین متاسفانه، اقدام مثبتی در مرتفع نمودن کلیه نظرات وارده بر این مدرک صورت نگرفته است. ضرورت دارد تا در اسرع وقت جهت نهایی سازی این مدرک اصلاحات مد نظر انجام پذیرد. |  | 03/2294/465896 | 1403/11/21 | تجهیزات سیستم HVAC در مدرک درج گردید.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: M.Fakharian | Signature
| Date: 1403/11/21 |  |  |  |  | Date: