|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **طرح نگهداشت و افزایش تولید 27 مخزن** | | | | | | | |
| **PMR FOR F&G SYSTEM**  **نگهداشت و افزایش تولید میدان نفتی بینک** | | | | | | | |
|  |  |  |  |  |  |  |
| D03 | MAR. 2025 | IFI | P.Hajisadeghi | M.Fakharian | S.Faramarzpour |  |
| D02 | DEC. 2024 | IFI | P.Hajisadeghi | M.Fakharian | M.Sadeghian |  |
| D01 | JUL. 2024 | IFI | P.Hajisadeghi | M.Fakharian | M.Sadeghian |  |
| D00 | AUG. 2023 | IFI | P.Hajisadeghi | M.Fakharian | A.M.Mohseni |  |
| **Rev.** | **Date** | **Purpose of Issue/Status** | **Prepared by:** | **Checked by:** | **Approved by:** | **CLIENT Approval** |
| **Class: 3** | | **CLIENT Doc. Number: F0Z-709271** | | | | |
| **Status:** | **IDC: Inter-Discipline Check**  **IFC: Issued For Comment**  **IFA: Issued For Approval**  **AFD: Approved For Design**  **AFC: Approved For Construction**  **AFP: Approved For Purchase**  **AFQ:** Approved For Quotation  **IFI: Issued For Information**  **AB-R: As-Built for CLIENT Review**  **AB-A: As-Built –Approved** | | | | | |

**REVISION RECORD SHEET**

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **PAGE** | **D00** | **D01** | **D02** | **D03** | **D04** |  | **PAGE** | **D00** | **D01** | **D02** | **D03** | **D04** |
| **1** | X | X | X | X |  | **66** |  |  |  |  |  |
| **2** | X | X | X | X |  | **67** |  |  |  |  |  |
| **3** | X | X |  |  |  | **68** |  |  |  |  |  |
| **4** | X | X |  |  |  | **69** |  |  |  |  |  |
| **5** | X |  |  | X |  | **70** |  |  |  |  |  |
| **6** | X | X | X | X |  | **71** |  |  |  |  |  |
| **7** | X | X |  |  |  | **72** |  |  |  |  |  |
| **8** | X |  | X | X |  | **73** |  |  |  |  |  |
| **9** | X | X | X | X |  | **74** |  |  |  |  |  |
| **10** | X | X | X | X |  | **75** |  |  |  |  |  |
| **11** | X |  |  | X |  | **76** |  |  |  |  |  |
| **12** | X |  |  | X |  | **77** |  |  |  |  |  |
| **13** | X | X | X |  |  | **78** |  |  |  |  |  |
| **14** | X | X |  | X |  | **79** |  |  |  |  |  |
| **15** | X | X |  | X |  | **80** |  |  |  |  |  |
| **16** | X | X |  | X |  | **81** |  |  |  |  |  |
| **17** | X | X |  | X |  | **82** |  |  |  |  |  |
| **18** |  | X |  | X |  | **83** |  |  |  |  |  |
| **19** |  |  |  |  |  | **84** |  |  |  |  |  |
| **20** |  |  |  |  |  | **85** |  |  |  |  |  |
| **21** |  |  |  |  |  | **86** |  |  |  |  |  |
| **22** |  |  |  |  |  | **87** |  |  |  |  |  |
| **23** |  |  |  |  |  | **88** |  |  |  |  |  |
| **24** |  |  |  |  |  | **89** |  |  |  |  |  |
| **25** |  |  |  |  |  | **90** |  |  |  |  |  |
| **26** |  |  |  |  |  | **91** |  |  |  |  |  |
| **27** |  |  |  |  |  | **92** |  |  |  |  |  |
| **28** |  |  |  |  |  | **93** |  |  |  |  |  |
| **29** |  |  |  |  |  | **94** |  |  |  |  |  |
| **30** |  |  |  |  |  | **95** |  |  |  |  |  |
| **31** |  |  |  |  |  | **96** |  |  |  |  |  |
| **32** |  |  |  |  |  | **97** |  |  |  |  |  |
| **33** |  |  |  |  |  | **98** |  |  |  |  |  |
| **34** |  |  |  |  |  | **99** |  |  |  |  |  |
| **35** |  |  |  |  |  | **100** |  |  |  |  |  |
| **36** |  |  |  |  |  | **101** |  |  |  |  |  |
| **37** |  |  |  |  |  | **102** |  |  |  |  |  |
| **38** |  |  |  |  |  | **103** |  |  |  |  |  |
| **39** |  |  |  |  |  | **104** |  |  |  |  |  |
| **40** |  |  |  |  |  | **105** |  |  |  |  |  |
| **41** |  |  |  |  |  | **106** |  |  |  |  |  |
| **42** |  |  |  |  |  | **107** |  |  |  |  |  |
| **43** |  |  |  |  |  | **108** |  |  |  |  |  |
| **44** |  |  |  |  |  | **109** |  |  |  |  |  |
| **45** |  |  |  |  |  | **110** |  |  |  |  |  |
| **46** |  |  |  |  |  | **111** |  |  |  |  |  |
| **47** |  |  |  |  |  | **112** |  |  |  |  |  |
| **48** |  |  |  |  |  | **113** |  |  |  |  |  |
| **49** |  |  |  |  |  | **114** |  |  |  |  |  |
| **50** |  |  |  |  |  | **115** |  |  |  |  |  |
| **51** |  |  |  |  |  | **116** |  |  |  |  |  |
| **52** |  |  |  |  |  | **117** |  |  |  |  |  |
| **53** |  |  |  |  |  | **118** |  |  |  |  |  |
| **54** |  |  |  |  |  | **119** |  |  |  |  |  |
| **55** |  |  |  |  |  | **120** |  |  |  |  |  |
| **56** |  |  |  |  |  | **121** |  |  |  |  |  |
| **57** |  |  |  |  |  | **122** |  |  |  |  |  |
| **58** |  |  |  |  |  | **123** |  |  |  |  |  |
| **59** |  |  |  |  |  | **124** |  |  |  |  |  |
| **60** |  |  |  |  |  | **125** |  |  |  |  |  |
| **61** |  |  |  |  |  | **126** |  |  |  |  |  |
| **62** |  |  |  |  |  | **127** |  |  |  |  |  |
| **63** |  |  |  |  |  | **128** |  |  |  |  |  |
| **64** |  |  |  |  |  | **129** |  |  |  |  |  |
| **65** |  |  |  |  |  | **130** |  |  |  |  |  |

**CONTENTS**

[1.0 INTRODUCTION 4](#_Toc193107418)

[2.0 GENERAL 5](#_Toc193107419)

[3.0 reference / ATTACHED DOCUMENTS 5](#_Toc193107420)

[4.0 SUBJECT OF THE SUPPLY 5](#_Toc193107421)

[5.0 LIMITS OF SUPPLY 7](#_Toc193107422)

[5.1 The Vendor’s Scope of Engineering 7](#_Toc193107423)

[5.2 The vendor's Scope of Supply: 8](#_Toc193107424)

[5.3 Scope of Responsibility: 8](#_Toc193107425)

[5.4 Spare Parts 9](#_Toc193107426)

[5.5 Other Items 10](#_Toc193107430)

[6.0 INSPECTION AND TESTS 10](#_Toc193107431)

[7.0 VENDOR DOCUMENTATION REQUIREMENTS & SCHEDULE 11](#_Toc193107432)

[8.0 VENDOR RESPONSIBILITY 11](#_Toc193107433)

[9.0 GUARANTEE AND WARRANTY 12](#_Toc193107434)

[10.0 DEVIATION 13](#_Toc193107435)

[11.0 PRICE BREAKDOWN 13](#_Toc193107436)

[ATTACHMENT 1 14](#_Toc193107437)

[LIST OF REFERENCE / APPLICABLE DOCUMENTS 14](#_Toc193107438)

[ATTACHMENT 2 16](#_Toc193107439)

[VENDOR DOCUMENTS MIN. REQUIREMENT 16](#_Toc193107440)

[ATTACHMENT 3 21](#_Toc193107441)

[ATTACHMENT 4 22](#_Toc193107442)

1. **INTRODUCTION**

Binak oilfield in Bushehr province is a part of the southern oilfields of Iran, is located 20 km northwest of Genaveh city.

With the aim of increasing production of oil from Binak oilfield, an EPC/EPD Project has been defined by NIOC/NISOC and awarded to Petro Iran Development Company (PEDCO). Also PEDCO (as General Contractor) has assigned the EPC-packages of the Project to "Hirgan Energy - Design and Inspection" JV.

As a part of the Project, a New Gas Compressor Station (adjacent to existing Binak GCS) shall be constructed to gather of 15 MMSCFD (approx.) associated gases and compress & transfer them to Siahmakan GIS.

**GENERAL DEFINITION**

The following terms shall be used in this document.

|  |  |
| --- | --- |
| CLIENT: | National Iranian South Oilfields Company (NISOC) |
| PROJECT: | Binak Oilfield Development – Surface Facilities; New Gas Compressor Station. |
| EPD/EPC CONTRACTOR (GC): | Petro Iran Development Company (PEDCO) |
| EPC CONTRACTOR/PURCHSER: | Joint Venture of: Hirgan Energy – Design & Inspection (D&I) Companies |
| VENDOR: | The firm or person who will fabricate or supply the equipment or material. |
| SUB VENDOR: | The firm or person who will have a direct contract with the Vendor or another Sub-vendor to perform a part or parts of the Work |
| EXECUTOR: | Executor is the party which carries out all or part of construction and/or commissioning for the project. |
| THIRD PARTY INSPECTOR (TPI): | The firm appointed by EPD/EPC CONTRACTOR (GC) and approved by CLIENT (in writing) for the inspection of goods. |
| SHALL: | Is used where a provision is mandatory. |
| SHOULD: | Is used where a provision is advisory only. |
| WILL: | Is normally used in connection with the action by CLIENT rather than by an EPC/EPD CONTRACTOR, or vendor. |
| MAY: | Is used where a provision is completely discretionary. |
|  |  |
|  |  |

1. **GENERAL**

D03

* This document presents the item material requisitions for Contractor’s use as appropriate.
* This material requisition covers the requirements for the design, manufacturing, testing and supply of F&G system and FACP and required accessories as listed in section 4. All equipment/devices/items shall conform to this requisition and all specifications which have been mentioned in attachment 1 of this material requisition.

1. **reference / ATTACHED DOCUMENTS**
2. Specified documents in attachment 1 shall be considered as a part of this material Requisition.
3. All codes and standards which have been referenced in above mentioned specs shall be considered.
4. In case of any conflict between the contents of this document or any discrepancy between this document and other project documents or reference standards, this issue must be reported to the CLIENT. The final decision in this situation will be made by CLIENT.
5. Deviations

Any exceptions/clarifications to codes/standards and specifications listed in attachment 1 must be clearly stated in a separate dedicated section of the proposal in the format submitted in attachment 3.

The proposed deviations/comments list shall include as minimum:

* Reference for the involved specification, chapter and paragraph.
* Technical justification for the non-compliance.
* Detailed description of the proposed alternative.

If no exceptions or clarifications exist, either for the complete referenced document or an individual paragraph, the vendor shall be considered to be in full compliance with the relevant document.

The vendor may propose materials of equivalent or better quality compared to those indicated in the equipment data sheet. Even these cases shall be duly included/technically supported in the deviations/clarifications list.

1. **SUBJECT OF THE SUPPLY**

Vendor scope of works and services are design, modifying, inspection, testing & delivery of required F&G system and FACP equipment for connecting to building detectors. The vendor shall include in the supply, all other equipment/devices/items not listed in the following, but necessary for a good design and a safe operation, taking into account process data and installation conditions such as area classification and climatic conditions.

The grade of shop assembly of the equipment/devices/items supplied shall be at maximum extent to facilitate site erection and pre-commissioning activities.

The vendor's supply shall include:

D03

|  |  |  |  |
| --- | --- | --- | --- |
| **No.** | **Item** | **Description** | **QTY**. **(Set)** |
| **1.** | F&G SYS. and Marshalling cabinet | F&G System (including marshaling and system cabinets) for signals of GCS, SIL 3 PLC Based AS Per “Specification For Fire & Gas System” Doc No:” BK-GNRAL-PEDCO-000-IN-SP-0012” & I/O List For F&G Systems Doc No:” BK-GCS-PEDCO-120-IN-LI-0004” | 1 |
| **2.** | FACP | Fire Alarm Control Panel For GCS Area Buildings. | 1 |
| **3.** | F&G Matrix Panel | Fire & Gas Matrix Panel for GCS Area Buildings As Per Data Sheets For ESD Console/F&G Matrix Panel | 1 |
| **4.** | F&G Engineering/Operator Workstation | F&G Engineering/Operator Workstation with 32" LED/LCD Monitor & Required accessories including required Software and Software Licenses. | 1 |
| **5.** | Other required accessories | Accessories like cabinets, power supplies (According to the spec), terminals, ducts, wires, relays and barriers, and other in GCS Area Buildings based on the project documents specially reference documents listed in the attachment 1. | 1 |
| **6.** | LAPTOP | F&G maintenance Laptop as per project Specification  including required software and Software Licenses | 1 |
| **7.** | Software license | All required software licenses shall be prepared as per attached document. | - |
| **8.** | PRINTER | Black & White Laser Printers | 1 |

Note: All interface required facilities such as communication network/cables, switches, furniture … will be considered in DCS vendor scope of work.

1. **LIMITS OF SUPPLY**

## The Vendor’s Scope of Engineering

Scope of Engineering services includes all items specified in documents, mentioned in “LIST OF REFRENCE / APPLICABLE DOCUMENTS included in Attachment 1, but not limited to the followings:

* Design, Engineering and Documentation Drawings, documentation and certification in accordance with section 8.0 of this requisition
* Project management including coordination with all Package Suppliers/Vendors and other subsystems Vendors.
* Systems' hardware engineering studies including:
* System sizing
* System architecture specification
* System cabinets design and arrangement
* Etc.
* Systems' software engineering including:
* F&G System functional design specifications
* I/O segregation and assignment
* Control strategy and typical I/O loop specification
* F&G System communication interface database definition
* Specification of communication interfaces with other subsystems including coordination with subsystems' Vendors
* Standard, graphic displays and report definition
* Etc.
* Marshaling cabinets' engineering studies
* Distribution cabinets' engineering studies
* F&G Matrix engineering studies
* F&G System Marshaling / Distribution cabinets and F&G Matrix hardware and software factory acceptance tests.
* System integration tests (including wiring and logic/function test as per BK-GNRAL-PEDCO-000-IN-SP-0003)
* On site erection supervision, pre-commissioning, commissioning and start up assistance.
* F&G System Engineer daily assistance (on site).
* F&G System hardware technician daily assistance (on site).
* Training for F&G System shall be according to project documents (BK-GNRAL-PEDCO-000-IN-SP-0003)
* Transportation to Site (including insurance)
* Packing, marking, preparation for shipment, and delivery

## The vendor's Scope of Supply:

D03

The vendor shall assume overall responsibility for the design, manufacture, assembly, test and performance of all equipment/devices/items supplied as indicated in this requisition. This shall include, but not be limited to:

* Resolve engineering issues relating to equipment/devices/items within the scope of supply.
* Provide detailed design and documentation of all equipment/devices/items and components within the scope of supply in accordance with attachment 2 of this document.
* Provide all necessary information documents in order to allow the contractor to erect, install and verify the proposed equipment/devices/items.
* Implement a quality assurance plan
* The quality plan applied to the scope of supply shall include:
  + QA/QC Organization Chart and procedures that shall be submitted for approval.
  + Plan for HOLD points in the production process proposed to CLIENT and EPC/EPD (GC) CONTRACTOR for witness or approval particular activities.
  + Production schedule indicating main quality manufacturing processes, inspection and tests.
  + Qualification of all personnel performing tests to be reviewed by the inspector
  + Vendor shall also provide the description of the following quality activities:
* Sub vendors’ products quality
* Quality check and identification of the materials and equipment entering in their manufacturing shop.
* Calibration of test instruments and equipment
* Provide detailed specifications and data sheets.
* The vendor shall take the full responsibility for the whole package control/protection system and shall be responsible for SAT and commissioning of the package.

## Scope of Responsibility:

* Resolve engineering issues relating to equipment within the scope of supply

D031

* Provide complete engineering of F&G system and FACP including detailed engineering, documentation, specifications, data sheet, Drawings,… for all the components
* Provide complete engineering of Interface documents for instrumentation and control of the package including all termination, signal list and communication ports
* Provide detailed design and documentation of all equipment and components within the scope of supply in accordance with attachment 2 of this document.
* Provide all necessary information documents in order to allow the contractor to erect, install and verify the proposed equipment
* Implement a quality assurance plan
* The quality plan applied to the scope of supply shall include:
  + QA/QC organization and procedures that shall be submitted for approval
  + Plan for HOLD points in the production process proposed to PURCHASER for witness or approval particular activities

D031

* + Production schedule indicating main quality manufacturing processes, inspection and tests
  + Qualification of all personnel performing NDT to be reviewed by the inspector
  + Vendor shall also provide the description of the following quality activities:
  + Sub vendors’ products quality
  + Quality check and identification of the materials and equipment entering in their manufacturing shop.
* Calibration of test instruments and equipment
* Provide detailed specifications and data sheets for primary measure elements for complete package control and automat control and isolation valves.
* The vendor shall take the full responsibility for the whole package control/protection system and shall be responsible for SAT and Commissioning of the package

## Spare Parts

* The Vendor shall provide certain quantities of consumable for the installation, pre-commissioning, commissioning, Start-up and up to the end of the guarantee period.
* The quantities shall be estimated by Vendor and shall be based upon the Vendor’s experience. The following two periods shall be taken into account:
* Pre-commissioning and commissioning period where the consumption of consumable is greater
* Normal use of the System
* The vendor shall provide lists of recommended spare parts, which shall include the original part numbers with prices for commissioning, start-up and two years operation. All spare parts shall be identified individually.
* Spare parts for commissioning and start-up; a qualified and complete list based on PROJECT SPARE PART SUPPLY PROCEDURE (Doc. No. E&C-QC-SP-1).
* Spare parts for two years operation; a qualified and complete list based on PROJECT SPARE PART SUPPLY PROCEDURE (Doc. No. E&C-QC-SP-1).
* The vendor shall be able to provide spares back up and support for the plant life of at least 20 years.
* SPIR form shall be approved by CLIENT prior to procurement.

## ~~Other Items~~

~~Name plate~~

## ~~Exclusions~~

D031

~~No exclusion is applicable.~~

## ~~Battery Limits~~

~~No battery limit is applicable.~~

## Other Items

* Special tools required for installation and maintenance (a qualified and complete list has to be included in the bid documentation)
* Noise acoustic protection and relevant ancillaries in order to match with max. noise level requirements (if necessary)
* Spreader bars for lifting of the panels (if necessary)
* Name plate
* Earthing plate
* Painting of all cabinet in accordance with “Specification For Painting Doc. No. BK-GNRAL-PEDCO-000-PI-SP-0006”
* Preparation for shipment

D03

* Packing for sea freight transportation
* Shop inspections and testing as per specification
* Free access to manufacturing plants for the PURCHASER's inspectors
* Certificates or declarations of conformance (as required) Daily rate for erection supervision (separate price)
* Daily rate for commissioning and start-up supervision (separate price)
* Training for customer's personnel (refer to BK-GNRAL-PEDCO-000-IN-SP-0012)
* All required meeting at Vendor shop/office including but not limited to:
  + KOM
  + Technical/Clarification meeting
  + Pre-Inspection Meeting

1. **INSPECTION AND TESTS**

The equipment shall be inspected and tested in accordance with the Inspection &Test plan (ITP) issued by the vendor and approved by the CLIENT and EPC/EPD (GC) CONTRACTOR before the award of the order. The Inspection & Test plan (ITP) shall be at least according to the Commodity Procurement and Manufacturing Inspection Instruction (Docs. Nos. ICE-EID-MI-SP01-Rev01), Inspection Level of Commodity and Equipment (Docs. Nos. ICE-EID-MI-SP02-Rev01) and Data Sheets. The vendor shall in any case conduct all the tests required by contractual documents, specifications, codes and standards, manufacturer standard quality system and keep the relevant documentation. All required manufacturing and function test/inspection also Factory Acceptance Test /Site Acceptance Test and Quality Assurance requirements shall be considered in vendor responsibility as per project specification.

1. **VENDOR DOCUMENTATION REQUIREMENTS & SCHEDULE**

* Vendor document shall be according to attachment 2 of this document.
* All documents, preliminary or final, are to be stamped and signed by the vendor.
* Failure in dispatch of the required documents shall cause the supply to be considered as unfulfilled.
* EPC and EPC/EPD (GC) CONTRACTOR ’s approval does not relieve vendor, in any way, from his obligation to fulfill the requirements of the purchase order documents.
* All vendor drawings and documents shall be in English language.

All drawings and documents are to be identified as per clause 1 **“GENERAL DEFINITION”**

1. **VENDOR RESPONSIBILITY**

Vendor shall be responsible for the design, engineering, co-ordination, supply, delivery, testing, final check-out and satisfactory operation of the equipment/devices/items. The engineering coordination also includes responsibility for handing and expediting drawings.

Preparation of complete final book, Training courses (as per BK-GNRAL-PEDCO-000-IN-SP-0012) and assistance during Pre-Commissioning/Commissioning/Startup are also in vendor responsibility as per project specification.

Also, vendor shall be responsible for ensuring that all relevant information and documentation is passed on the sub-Vendors.

D03

1. **GUARANTEE AND WARRANTY**

VENDOR shall be fully responsible for the manufacture in respect of proper design, quality, workmanship and operation of all the equipment, accessories etc. including supplied by sub-contractors/vendors. This includes both hardware and software. Guarantee conditions and warranty period shall be as stated in the commercial section documents.

D03

It shall be obligatory on the part of vendor to modify and/or replace any hardware and modify the operating, application and diagnostic software free of cost, in case any malfunction is revealed even during on-line operation after taking over, within the warranty period.

The System shall be guaranteed against malfunction, partial or complete failure resulting from or attributed to the following:

* Sub-standard components and materials.
* Incorrectly rated components and materials.
* Sub-standard workmanship, including but not limited to sub-standard design, construction, alignment, and setting-up.
* Adjustments carried strictly in accordance with vendor's manuals or written instructions where those manuals of instructions are in error.

vendor shall assume full responsibility for his Sub-vendors of equipment and ancillaries supplied under this specification i.e. individual equipment warranties etc. are not to be signed over to the Contractor but will remain that of the equipment package vendor.

If poor performance occurs or defects are found during the warranty period, vendor shall make all necessary alternations, repairs and replacements, including shipment of parts and mobilization of assistance, free of charge.

The guarantee period shall be eighteen (18) months from the date of delivery or twelve (12) months from the date of installation, whichever occurs later. Anyway, guarantee period shall not be less than twelve (12) months.

Manufacturers shall also guarantee all equipment furnished against defects in design, materials, and workmanship and will bear the entire cost of correcting such defects which would develop during the specified warranty period.

The manufacturers/vendors shall guarantee the supply of min. 20 years spare parts for the quoted equipment.

VENDOR is to provide a list of parts and state for each the replacement time and repair turnaround time under warranty.

1. **DEVIATION**

Vendor’s proposal shall be prepared in strict compliance with the requirements set forth in the relevant specifications of tender documents.

Vendor shall include in his proposal the statement of compliance with the tender documents should Vendor wish to submit exception to the requirements of tender documents. They shall be submitted for CLIENT’s approval.

1. **PRICE BREAKDOWN**

Breakdown price of following items shall be included in the proposal, as well as total price.

1. Material and Fabrication for each Section Separately
2. Pre-commissioning & commissioning spare parts (E&C-QC-SP-1)
3. 2 years operational spare parts (E&C-QC-SP-1)
4. Packing & transportation

# ATTACHMENT 1

D03

## LIST OF REFERENCE / APPLICABLE DOCUMENTS

| **No.** | **Document No.** | **Document Title** | **Rev.** |
| --- | --- | --- | --- |
| **Instrument** | | | |
|  | BK-GNRAL-PEDCO-000-IN-SP-0012 | Specification For Fire & Gas System | D04 |
|  | BK-GCS-PEDCO-120-IN-DC-0001 | Fire & Gas Detection Design Criteria | D06 |
|  | BK-GCS-PEDCO-120-IN-DG-0009 | F&G Cause and Effect Diagram for Process Area | D03 |
|  | BK-GCS-PEDCO-120-IN-DG-0010 | F&G Cause and Effect Diagram for Building | D01 |
|  | BK-GCS-PEDCO-120-IN-DG-0008 | Instrument & F&G Junction Box Termination Diagram | D04 |
|  | BK-GCS-PEDCO-120-IN-LI-0009 | Instrument /F&G Cable List | D04 |
|  | BK-GCS-PEDCO-120-IN-LI-0004 | I/O List For F&G Systems | D06 |
|  | BK-GCS-PEDCO-120-IN-LI-0005 | Panels & Junction Box List | D04 |
|  | BK-GCS-PEDCO-120-IN-BD-0001 | Control/F&G SYSTEM/F&G System Block Diagram Configuration | D08 |
|  | BK-GCS-PEDCO-120-IN-PY-0001 | Control Room Layout & Arrangement Drawing | D04 |
|  | BK-GCS-PEDCO-120-IN-DT-0017 | Data Sheets For F&G SYSTEM Console/F&G Matrix Panel | D04 |
|  | BK-GCS-PEDCO-120-IN-PY-0005 | F&G Location Layout for Process Area | D04 |
|  | BK-GCS-PEDCO-120-IN-PY-0006 | F&G Location Layout for Buildings | D04 |
|  | BK-GNRAL-PEDCO-000-IN-SP-0010 | Specification For Instrument/F&G Cables | D02 |
| **Process** | | | |
|  | BK-GNRAL-PEDCO-000-PR-DB-0001 | Process Basis of Design | D08 |
|  | BK-GCS-PEDCO-120-PR-PH-0002 | Control Philosophy | D02 |
| **Safety** | | | |
| **17.** | BK-GCS-PEDCO-120-SA-PI-0001 | P&ID - Fire Water Network | D07 |
| **18.** | BK-GCS-PEDCO-120-SA-PY-0004 | Safety & Fire Fighting Equipment Location Layout | D02 |
| **General** | | | |
| **19.** | BK-GNRAL-PEDCO-000-PI-SP-0006 | Specification For Painting | D04 |
| **20.** | ICE-EID-MI-SP01-Rev01 | دستورالعمل بازرسی، خرید و ساخت کالا | D01 |
| **21.** | ICE-EID-MI-SP02-Rev01 | دستورالعمل انتخاب سطح بازرسی کالا و تجهیزات | D01 |
| **22.** | E&C-QC-SP-1 | دستورالعمل تامین قطعات یدکی راه اندازی وراهبری دو سالانه | D00 |
| **23.** | BK-GNRAL-PEDCO-000-QC-PR-0022 | Specification For Final Data Book (FDB) Requirements | D00 |
| **24.** | BK-GNRAL-PEDCO-000-QC-PR-0045 | Packing, Marking, Transportation Procedure | D00 |

**\*\*NOTE: THE LATEST REVISION OF PROJECT DOCUMENT IN ATTACHMENT 1 TO BE CONSIDERED AS REFERENCE BY VENDOR.**

# ATTACHMENT 2

## VENDOR DOCUMENTS MIN. REQUIREMENT

| **NO.** | **DESCRIPTION** | **WITH BID** | **AFTER ORDERING** | | | | **AT THE FINAL**  **INSPECTION**  **(4)** |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Q./TYPE**  **(1)** | **Q./TYPE**  **(1)** | **DELIVERY DATE (2)** | **PURPOSE**  **(3)** | **FINAL**  **ISSUE** |
| **MANAGEMENT** | | | | | | | |
|  | Vendor Document Index and Schedule | 4N | 6C+E | 2W | A | 6C+E | X |
|  | Organization Brief | 4N | 6C+E | 2W | I | 6C+E |  |
|  | Schedule Level 1, 2, 3 & 4 showing Engineering, Procurement, Fabrication, Inspection, Testing, and Delivery Plan. | 4N | 6C+E | 3W | A | 6C+E | X |
|  | Physically Progress Report (Every 2 Weeks)) |  | 6C+E | 2W |  |  |  |
|  | Project Organization Chart | 4N | 6C+E | 2W |  |  | X |
|  | Reference List | 4N | 6C+E | 2W | I | 6C+E |  |
|  | Vendor Catalogue | 4N | 6C+E | 2W | I | 6C+E | X |
| **QUALITY** | | | | | | | |
|  | Quality Assurance Manual /Quality Management System Certificate / Quality Control Plan (according to latest rev. of ISO) | 4N | 6C+E |  | A | 6C+E |  |
|  | Preliminary Inspection and Test Plan | 4N | 6C+E |  |  |  |  |
|  | Inspection and Test Plan | 4N | 6C+E | 3W | A | 6C+E |  |
|  | Quality Control Plan | 4N | 6C+E | 3W | A | 6C+E | D03 |
| **HSE** | | | | | | | |
|  | HSE Procedure |  | 6C+E | 4W | A | 6C+E | X |
| **ENGINEERING** | | | | | | | |
|  | Vendor Document Schedule | 4N | 6C+E | 4W | A | 6C+E | X |
|  | Power Consumption List | 4N | 6C+E | 4W | A | 6C+E | X |
|  | Detailed Devices Catalogues | 4N | 6C+E | 4W | A | 6C+E | X |
|  | Equipment List and Cabinet Bill Of Material |  | 6C+E | 4W | A | 6C+E | X |
|  | Control System Software Catalogue | 4N | 6C+E | 4W | A | 6C+E | X |
|  | Software System - Specifications |  | 6C+E | 4W | A | 6C+E |  |
|  | Hardware System - Specifications |  | 6C+E | 4W | A | 6C+E |  |
|  | Loop Diagrams |  | 6C+E | 4W | A | 6C+E | X |
|  | I/O assignment |  | 6C+E | 4W | A | 6C+E |  |
|  | Graphic Pages printout |  | 6C+E | 4W | A | 6C+E | X |
|  | System Architecture and Network | 4N | 6C+E | 4W | A | 6C+E | X |
|  | Cable Termination’s/Connection Diagrams |  | 6C+E | 4W | A | 6C+E | X |
|  | Panel/F&G Matrix Layout |  | 6C+E | 4W | A | 6C+E | X |
|  | Power Distribution Diagram | D03 | 6C+E | 4W | A | 6C+E | X |
|  | System Software/logic printout |  | 6C+E | 4W | A | 6C+E | X |
|  | Earthing Diagram |  | 6C+E | 4W | A | 6C+E |  |
|  | Control Room And Technical Arrangement |  | 6C+E | 4W | 6C+E | 6C+E |  |
|  | Reliability/Availability/FEMA Report |  | 6C+E | 4W | A | 6C+E |  |
|  | MODBUS Mapping List |  | 6C+E | 4W | A | 6C+E | X |
| **PROCUREMENT** | | | | | | | |
|  | List of Sub-Vendors (table giving: part of equipment, tag no., sub-vendor reference) | 4N | 6C+E | 4W | A | 6C+E |  |
|  | Unpriced copy of sub-orders | 4N | 6C+E | 4W | I | - |  |
|  | Packing Spec. / Shipping Schedule | 4N | 6C+E | 4W | I | - |  |
|  | Weight List/ Shipping List | 4N | 6C+E | 4W | I | 6C+E |  |
|  | Mechanical & Performance Guarantees | 4N | 6C+E | 4W | I | - |  |
| **TESTING** | | | | | | | |
|  | Manufacturing, Test & Inspection Procedures | 4N | 6C+E | 4W | A | 6C+E | X |
|  | Performance & Functional Test Procedure |  | 6C+E | 4W | A | 6C+E | X |
|  | Factory Acceptance Test (FAT) Procedure |  | 6C+E | 4W | A | 6C+E | X |
|  | Site Acceptance Test (SAT) Procedure |  | 6C+E | 4W | A | 6C+E | X |
| **RECORDS, REPORTS & CERTIFICATES** | | | | | | | |
|  | MANUFACTURING RECORD BOOK INDEX (Standard index will be issued with the Purchase Order). |  | 6C+E | 4W | I | 6C+E | D03 |
|  | Material Conformity Certificate |  | 6C+E | 4W | I | 6C+E | X |
|  | Testing Authority Approval Certificate |  | 6C+E | 4W | I | 6C+E | X |
|  | Hazardous Area Certificates. |  | 6C+E | 4W | I | 6C+E | X |
|  | Conformity Certificates (sub-vendor/equipment) |  | 6C+E | 4W | I | 6C+E | X |
|  | Material Certificates Identification Diagram. (cross-reference material location; certificates for critical components) |  | 6C+E | 4W | I | 6C+E | X |
|  | FAT Test Report / Certificates |  | 6C+E | 4W | A | 6C+E |  |
|  | Pre-FAT Report |  | 6C+E | 4W | A | 6C+E |  |
|  | Performance Test Report / Certificates |  | 6C+E | 4W | A | 6C+E | X |
|  | Material Test Certificates |  | 6C+E | 4W | I | 6C+E | X |
|  | Surface Preparation & Coating Reports |  | 6C+E | 4W | A | 6C+E |  |
|  | Test & Inspection Reports |  | 6C+E | 4W | A | 6C+E |  |
|  | Rust Prevention Report |  | 6C+E | 4W | A | 6C+E |  |
|  | IP Certificate |  | 6C+E | 4W | A | 6C+E |  |
|  | EX Certificate |  | 6C+E | 4W | A | 6C+E |  |
|  | Conformity Certificates (sub-Vendor/equipment) |  | 6C+E | 4W | A | 6C+E |  |
| **INSTALLATION** | | | | | | | |
|  | Sub-Assembly Documentation |  | 6C+E | 4W | A | 6C+E |  |
|  | Sub-Assembly Drawings |  | 6C+E | 4W | A | 6C+E |  |
|  | Erection/Installation Manual (if required) |  | 6C+E | 4W | A | 6C+E |  |
|  | Handling, Transportation & Storage Instructions | 4N | 6C+E | 4W | A | 6C+E |  |
|  | Unpacking & Inspection Instructions |  | 6C+E | 4W | A | 6C+E |  |
|  | Name Plate Documents |  | 6C+E | 4W | A | 6C+E |  |
|  | Preliminary Packing List |  | 6C+E | 4W | A | 6C+E |  |
|  | Packing List |  | 6C+E | 4W | A | 6C+E |  |
| **OPERATION & MAINTENANCE** | | | | | | | |
|  | Operating Instructions |  | 6C+E | 4W | A | 6C+E |  |
|  | Maintenance Instructions |  | 6C+E | 4W | A | 6C+E |  |
|  | Commissioning & Start-up Manual |  | 6C+E | 4W | A | 6C+E |  |
|  | List of Spare Parts Commissioning & Start-up | 4N | 6C+E | 4W | A | 6C+E |  |
|  | List of Spare Parts 2 Years Operation | 4N | 6C+E | 4W | A | 6C+E |  |
|  | List of Special Tools | 4N | 6C+E | 4W | A | 6C+E |  |
|  | Consumables List |  | 6C+E | 4W | A | 6C+E |  |
|  | Software Manual (incl. Troubleshooting) |  | 6C+E | 4W | A | 6C+E | D03 |
| **OTHERS** | | | | | | | |
|  | Vendor Final Book Index |  | 6C+E | 4W | A | 6C+E | X |
|  | Vendor Final Book |  | 6C+E | 4W | A | 6C+E | X |
|  | All others documents will be listed in the order |  | 6C+E | 4W | A | 6C+E |  |
| **NOTES:** | | | | | | | |
| **\*\*\* The electronic file (Native/PDF) and Hardcopy version shall be provided in all stages by vendor.** | | | | | | | |
| (1) Q: QUANTITY, TYPE: C = COPY, R = REPRODUCIBLE, P = POLYESTER, M = MICROFILM, E = ELECTRONIC, N=NUMBER OF DOCUMENT | | | | | | | |
| (2) W = CONSECUTIVE CALENDAR WEEK, M = CONSECUTIVE CALENDAR MONTH | | | | | | | |
| (3) A = FOR APPROVAL - I = FOR INFORMATION | | | | | | | |
| (4) X = DOCUMENTS TO BE SUBMITTED AT THE FINAL INSPECTION | | | | | | | |
| (5) MECHANICAL CATALOGUE INCLUDING FINAL DRAWINGS/DOCUMENTS, UNPRICED PURCHASE ORDER & SUB‑ PURCHASE ORDER, MAINTENANCE DOSSIER ETC. | | | | | | | |
| (6) ALL DOCUMENTS AND/OR DRAWINGS FOR THIS PROJECT SHALL ALSO BE SUBMITTED IN THE ELECTRONIC FILES BY | | | | | | | |
| USING THE FOLLOWING SOFTWARE. | | | | | | | |
| MS OFFICE WORD 2013 OR UPPER VERSION (ENGLISH) FOR WORD PROCESSING | | | | | | | |
| MS OFFICE EXCEL 2013 OR UPPER VERSION (ENGLISH) FOR SPREAD SHEET | | | | | | | |
| AUTO CAD 2005 (ENGLISH) FOR DRAWING | | | | | | | |
| (7) IN ORDER TO DESIGN AND MANUFACTURE THE INSTRUMENTS, VENDOR SHALL CONSIDER THE SEISMIC FACTOR, | | | | | | | |
| SUITABLE FOR SEISMIC UBC 97 ZONE 4, AND THE RESULTS SHALL BE PROVIDED BY VENDOR.  (8) LIST OF DOCUMENTS WILL BE FINALIZED IN VPIS.  (9) List of documents will be finalized in VDIS (Vendor Document Index and Schedule). | | | | | | | |
|  | | | | | | | |

# ATTACHMENT 3

**DEVIATIONS / EXCEPTIONS TO JOB SPECIFICATION**

Requisition No.:

Description:

Equipment No.:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item No.** | **Description**  **of proposed exception** | **Recommended revision to job specification** | **Reason for proposed exception** | **Effect on base**  **proposal if CONTRACTOR rejects exception** |
|  |  |  |  |  |

# ATTACHMENT 4

**ALTERNATIVES TO JOB SPECIFICATION**

Requisition No.:

Description:

Equipment No.:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item No.** | **Job Specification No. & Paragraph No.** | **Requirements of Job Specification** | **Description of Proposed Alternative** | **Reason for Proposed Alternative** |
|  |  |  |  |  |