## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-AA-120-ME-ML-0001-V00 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-SVTR-AA-0036 |  |  | Transmital Date: 2025/01/11
Document Title: Installation, Operation & Maintenance Manual |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC- |  |  | Transmital Date:
[5 empty] | CRS No: PEDCO-CRS-BK-GCS-AA-120-ME-ML-0001_V00 |  |  | CRS Status: | CM
| Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | 1-Definition* مدرك مي بايست مربوط به اين پروژه بوده و اصلاح شود |  | BK-SUR-ENG-MEC-03-09779 | 2024-12-04 | اعمال گردید.
2 | 2-Tag تجهيزات كنترل پارامترها از قبيل دما، فشار، ارتعاش ، ESD و....در موارد مربوطه قيد گردد(مطابق مدرك P&ID ) |  | BK-SUR-ENG-MEC-03-09779 | 2024-12-04 | در حوزه کاری شرکت آبان نمی باشد.
3 | 3- درنسخه بعدي اين مدرك مراحل راه اندازي و بهره برداري با ذكر Tag هاي نقشه P&ID و مقادير اين كميات بازنگري شود |  | BK-SUR-ENG-MEC-03-09779 | 2024-12-04 | لطفا جهات مقادیر شفاف سازی گردد.
4 | 4-قبل از استارت بايد دستورالعمل راه اندازي و گواهينامه RFS (آماده براي استارت)توسط گروه بهره بردار چك شود(اين فرم ضميمه گردد) |  | BK-SUR-ENG-MEC-03-09779 | 2024-12-04 | خواهشمند است فرم مربوطه ارائه گردد.
5 | 5-زمانهاي Periodical inspection كليه قطعات اصلي و يدكي قيد شده و سيستم CMMS جدول بندي و به پيوست ارائه گردد |  | BK-SUR-ENG-MEC-03-09779 | 2024-12-04 | خواهشمند است فرم مربوطه ارائه گردد.
6 | 6-بخشي جداگانه در مورد نكات و مخاطرات ايمني پكيج مذكور در عمليات بهره برداري و نگهداري تدوين گردد. |  | BK-SUR-ENG-MEC-03-09779 | 2024-12-04 | قسمت پکیج با شرکت آبان نمی باشد و موارد مربوط به کولر هوایی ذکر گردیده است.
7
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By:F.NOEI | Signature | H.Naserizadeh |  |  | Clarified By: | Signature
| Date:01/07/2025 |  |  |  |  | Date: