## Cover
NISOC |  |  |  |  | نگهداشت و افزایش تولید میدان نفتی بینک سطح‌الارض و ابنیه تحت‌الارض خرید پکیج های کمپرسور گاز (رفت و برگشتی) بینک قرارداد شماره
BK-HD-GCS-CO-0008_03
CONTROL PANEL PARTS DATA SHEET/LICENCE LIST/ CERTIFICATES
| شماره پیمان: |  |  |  | پروژه |  | بسته کاری | صادرکننده | تسهیلات |  | رشته | نوع مدرک | سریال | نسخه |  | شماره صفحه: 1 از 3
| 9184 – 073 - 053 |  |  |  | BK |  | GCS | HY | 120 |  | IN | DS | 0005 | V00
طرح نگهداشت و افزایش تولید 27 مخزن
CONTROL PANEL PARTS DATA SHEET/LICENCE LIST/ CERTIFICATES نگهداشت و افزایش تولید میدان نفتی بینک
| V00 |  |  | Jun. 2023 |  | IFR |  |  |  | Havayar Co. |  |  | M.Fakharian |  | A.M.Mohseni.
| Rev. |  |  | Date |  | Purpose of Issue / Status |  |  |  | Prepared by: |  |  | Checked by: |  | Approved by: |  | CLIENT Approval
| Class: 2 | 2
status:
IFA: Issued For Approval
IFR:Issued For Review
IFI: Issued For Information
AFC: Approved For Construction

## REVISION
NISOC |  |  |  | نگهداشت و افزایش تولید میدان نفتی بینک سطح‌الارض و ابنیه تحت‌الارض خرید پکیج های کمپرسور گاز (رفت و برگشتی) بینک قرارداد شماره
BK-HD-GCS-CO-0008_03
CONTROL PANEL PARTS DATA SHEET/LICENCE LIST/ CERTIFICATES
| شماره پیمان: |  |  | پروژه | بسته کاری |  | صادرکننده | تسهیلات | رشته | نوع مدرک | سریال |  | نسخه |  | شماره صفحه: 1 از 3
| 9184 – 073 - 053 |  |  | BK | GCS |  | HY | 120 | IN | DS | 0005 |  | V00
REVISION RECORD SHEET
Page |  | V00 | V01 | V02 |  | V03 |  | V04 |  | Page |  | V00 |  | V01 |  | V02 | V03 | V04
1 |  | X | [7 empty] | 61
2 |  | X | [7 empty] | 62
3 |  | X | [7 empty] | 63
4 | [9 empty] | 64
5 | [9 empty] | 65
6 | [9 empty] | 66
7 | [9 empty] | 67
8 | [9 empty] | 68
9 | [9 empty] | 69
10 | [9 empty] | 70
11 | [9 empty] | 71
12 | [9 empty] | 72
13 | [9 empty] | 73
14 | [9 empty] | 74
15 | [9 empty] | 75
16 | [9 empty] | 76
17 | [9 empty] | 77
18 | [9 empty] | 78
19 | [9 empty] | 79
20 | [9 empty] | 80
21 | [9 empty] | 81
22 | [9 empty] | 82
23 | [9 empty] | 83
24 | [9 empty] | 84
25 | [9 empty] | 85
26 | [9 empty] | 86
27 | [9 empty] | 87
28 | [9 empty] | 88
29 | [9 empty] | 89
30 | [9 empty] | 90
31 | [9 empty] | 91
32 | [9 empty] | 92
33 | [9 empty] | 93
34 | [9 empty] | 94
35 | [9 empty] | 95
36 | [9 empty] | 96
37 | [9 empty] | 97
38 | [9 empty] | 98
39 | [9 empty] | 99
40 | [9 empty] | 100
41 | [9 empty] | 101
42 | [9 empty] | 102
43 | [9 empty] | 103
44 | [9 empty] | 104
45 | [9 empty] | 105
46 | [9 empty] | 106
47 | [9 empty] | 107
48 | [9 empty] | 108
49 | [9 empty] | 109
50 | [9 empty] | 110
51 | [9 empty] | 111
52 | [9 empty] | 112
53 | [9 empty] | 113
54 | [9 empty] | 114
55 | [9 empty] | 115
56 | [9 empty] | 116
57 | [9 empty] | 117
58 | [9 empty] | 118
59 | [9 empty] | 119
60 | [9 empty] | 120

## Sheet3
نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض و ابنیه تحت الارض
خرید پکیج های کمپرسور گاز (رفت و برگشتی) بینک (قرارداد BK-HD-GCS-CO-0008_03 )
CONTROL PANEL PARTS DATA SHEET/LICENCE LIST/ CERTIFICATES
Contract No: | [5 empty] | Project |  | Package |  |  | Issuer |  | Facility |  | Dicipline |  |  | Doc. | Sequence |  | Rev | Page 3 of 3
053-073-9184 | [5 empty] | BK |  | GCS |  |  | HAV1 |  | 120 |  | IN |  |  | DS | 0005 |  | V00
Standards and regulations
¢ | IEC | [6 empty] | ¢ | IPS | [9 empty] | £ | RITAL
Switchboard data
Panel type |  |  |  |  | £ | Rittal brand | [5 empty] | ¢ | Rittal type(Made in Iran) | [9 empty] | £ | Rack mounted
[5 empty] | £ | Plug-in design | [5 empty] | £ | Wall/skid Mounted
[5 empty] | £ | Fixed | [5 empty] | ¢ | Free Standing
Installation |  |  |  |  | ¢ | Indoor (Client control room) | [5 empty] | £ | Outdoor under shelter | [9 empty] | £ | Outdoor unsheltered
Color of enclosure |  |  |  |  | £ | RAL 7032 | [5 empty] | ¢ | RAL 7035 | [9 empty] | £ | Other
Dimensions |  |  |  |  | Width |  |  | 1600(2*800mm) |  |  | mm |  | Height |  |  | 2100 |  |  |  | mm |  | Depth |  |  | 800mm
Body material & size |  |  |  |  | Material |  |  | Sheet Steel |  |  | - |  | Thickness |  |  | 1.5 |  |  |  | mm |  | Dimensions will be finalized in UCP layout document.
Door & Top material & size |  |  |  |  | Material |  |  | Sheet Steel |  |  | - |  | Thickness |  |  | 1.5 |  |  |  | mm
Environmental conditions
Humidity range |  |  |  |  | £ | 0-10% |  |  | £ | 10-30% |  | £ | 30-50% |  |  | £ | 50-60% |  |  | ¢ | 60-70% |  |  | £ | 70-80%
Substation temperature (max) |  |  |  |  | £ | 25°C |  |  | £ | 30°C |  | £ | 35°C |  |  | ¢ | 43°C |  |  | £ | 44°C |  |  | £ | 50°C
Substation temperature (min) |  |  |  |  | £ | + 1 °C |  |  | ¢ | 0 °C |  | £ | -20 °C
Installation altitude above MSL |  |  |  |  | £ | sea level |  |  | ¢ | ≤1500m |  | £ | >1000m |  |  |  | >2000m
Ingress of protection |  |  |  |  | £ | IP31 |  |  | £ | IP40 |  | £ | IP41 |  |  | ¢ | IP42 |  |  | £ | IP54 |  |  | £ | IP65
Control cabinet heating / cooling |  |  |  |  | ¢ | Ventilated | [5 empty] | £ | Unventilated
[5 empty] | ¢ | Heater & Thermostat | [5 empty] | ¢ | Fan & Filter | [6 empty] | £ | Hydrostat |  |  |  |  | £ | None
Lighting |  |  |  |  | ¢ | Florsant | [5 empty] | ¢ | Microswitch | [6 empty] | ¢ | socket |  |  |  |  | £ | Other
PLC data
Brand / type | [8 empty] | Siemens | [14 empty] | OTHER
[9 empty] | S7 - 1200 |  |  | S7-300 |  |  |  | S7- 400FH |  |  |  | OTHER
Redundancy | [8 empty] | No Redundancy |  |  | CPU |  |  |  | Communication (Modbus) |  |  |  | Powersupply |  |  |  | Critical I/O (I/O in ET200M)
HMI Type | [8 empty] | None |  |  | TP177A |  |  |  | TP177B |  |  |  | MP-277 # 19" |  |  |  | TP 12"
Barrier | [8 empty] | Yes |  |  | NO
Soft ware Data for Laptop
Orginal license |  |  | Yes | No |  |  |  | Orginal software |  |  | Yes |  |  | No |  |  | Logic source |  | Yes |  | No |  | Laptop/IPC Yes No
Critical I/O (I/O in ET200M)
Used Instruments | [14 empty] | Communication | [5 empty] | Other devices
no. | Qty. | instrument |  |  |  |  | Description | [8 empty] | None | [5 empty] | Control relay
[16 empty] | PRO-FI Bus module For DCS | [5 empty] | Annunciator
[16 empty] | Modbus RTU module For DCS | [5 empty] | Selectors
[16 empty] | PLC communication (with hard wire To DCS) | [5 empty] | Push button
[16 empty] | Hard wire for field | [5 empty] | Indicator light
[16 empty] | Ethernet ( WIRE ) For UCP | [5 empty] | Terminal
[15 empty] | Note: | Some Signals between UCP and DCS are hard wire. | [5 empty] | MCB
Emergency stop
Supply voltage
Supply feeder : | [8 empty] | voltage Transformator |  |  |  |  | UPS ( Redundant dlivered by client) | [5 empty] | Normal (Fan & Lighting) | [5 empty] | Other
Voltage power rate for control panel : | [8 empty] | 24V DC |  |  |  |  | 110V AC | [5 empty] | 230V AC | [5 empty] | Other
[9 empty] | 50 Hz. |  |  |  |  | 60 Hz.
Voltage power rate for Instrumentation purposes : | [8 empty] | 24V DC |  |  |  |  | 230V AC | [5 empty] | 230V AC | [5 empty] | Other
Identification / Wiring / nameplate
Label & Name plate | [8 empty] | Label |  |  |  | Name plate |  |  |  |  | Wiring tag
Language | [8 empty] | Persian |  |  |  | English |  |  |  |  | Other
Insulation material of leads | [8 empty] | PVC |  |  |  | Flame retardant
Gland data for PLC panel
Material | [8 empty] | Brass nickel plated |  |  |  |  | Brass |  |  | thermoplastic | [5 empty] | S.S |  |  | other
Ingress of protection | [8 empty] | EExe |  | Eexd |  |  | IP42 |  |  | IP66 |  |  | IP68 |  |  | other
Mechanical protection | [8 empty] | Armoured |  |  |  |  | un-Armoured