## COVER
NISOC |  | نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض و ابنیه تحت الارض/بسته ایستگاه تقویت فشار گاز
خرید پکیج های کمپرسور گاز (رفت و برگشتی) بینک (قرارداد BK-HD-GCS-CO-0008_03)
CAUSE & EFFECT CHARTS LIST
شماره پیمان: |  | پروژه |  | بسته کاری | صادر کننده | تسهیلات | رشته | رشته | نوع مدرک | سریال | نسخه | نسخه | شماره صفحه: 1 از 4
9184 – 073 - 053 |  | BK |  | GCS | HY | 120 | XX | IN | LI | 0001 | DXX | V00
طرح نگهداشت و افزایش تولید 27 مخزن
CAUSE & EFFECT CHARTS LIST نگهداشت و افزایش تولید میدان نفتی بینک
V00 | JUN.2023 |  | IFR |  | Havayar Co. |  |  |  | M.Fakharian co. |  |  |  | A.M.Mohseni co.
Rev. | Date |  | Purpose of Issue / Status |  | Prepared by: |  |  |  | Checked by: |  |  |  | Approved by: | CLIENT Approval
Class: 2 |  |  | CLIENT Doc. Number:
status:
IFA: Issued For Approval
IFR: Issued For Review
IFI: Issued For Information
AFC: Approved For Construction

## REVISION
NISOC |  |  |  | نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض و ابنیه تحت الارض/بسته ایستگاه تقویت فشار گاز خرید پکیج های کمپرسور گاز (رفت و برگشتی) بینک (قرارداد BK-HD-GCS-CO-0008_03)
CAUSE & EFFECT CHARTS LIST
شماره پیمان: |  |  |  | پروژه |  |  | بسته کاری |  | صادرکننده |  | تسهیلات |  |  | رشته | نوع مدرک | سریال | نسخه | شماره صفحه: 2 از 4
9184 – 073 - 053 |  |  |  | BK |  |  | GCS |  | HY |  | 120 |  |  | IN | LI | 0001 | V00
REVISION RECORD SHEET
Page |  | V00 | V01 |  | V02 |  | V03 | V04 |  | V05 |  | V06 | Page | V00 | V01 | V02 | V03 |  | V04 | V05 | V06
1 | X | X | [10 empty] | 40
2 | X | X | [10 empty] | 41
3 | X | X | [10 empty] | 42
4 | X | X | [10 empty] | 43
5 | X | [11 empty] | 44
6 | X | [11 empty] | 45
7 | X | [11 empty] | 46
8 | X | [11 empty] | 47
9 | X | [11 empty] | 48
10 | X | [11 empty] | 49
11 | X | [11 empty] | 50
12 | X | [11 empty] | 51
13 | X | [11 empty] | 52
14 | X | [11 empty] | 53
15 | X | [11 empty] | 54
16 | X | [11 empty] | 55
17 | X | [11 empty] | 56
18 | X | [11 empty] | 57
19 | X | [11 empty] | 58
20 | X | [11 empty] | 59
21 | X | [11 empty] | 60
22 | X | [11 empty] | 61
23 | X | [11 empty] | 62
24 | X | [11 empty] | 63
25 | X |  |  |  |  | 66 | [6 empty] | 64
26 | X |  |  |  |  | 67 | [6 empty] | 65
27 | X |  |  |  |  | 68 | [6 empty] | 66
28 | X |  |  |  |  | 69 | [6 empty] | 67
29 | X |  |  |  |  | 70 | [6 empty] | 68
30 | X |  |  |  |  | 71 | [6 empty] | 69
31 | X |  |  |  |  | 72 | [6 empty] | 70
32 | X |  |  |  |  | 73 | [6 empty] | 71
33 | X |  |  |  |  | 74 | [6 empty] | 72
34 | X |  |  |  |  | 75 | [6 empty] | 73
35 | X |  |  |  |  | 76 | [6 empty] | 74
36 | X |  |  |  |  | 77 | [6 empty] | 75
37 | X |  |  |  |  | 78 | [6 empty] | 76
38 | X |  |  |  |  | 79 | [6 empty] | 77
39 | X |  |  |  |  | 80 | [6 empty] | 78

## PAGE3
EFFECTS CAUSE | [5 empty] | TITLE | SOUR GAS RECIPROCATING COMPRESSOR
[6 empty] | EQUIP. | C2101 / C-2102
[6 empty] | EFFECT | UNIT COMMON SHUTDOWN SIGNAL | AUX. OIL PUMP | CRANCK CASE HEATER | AUX. WATER PUMP | MAIN WATER PUMP | WATER RESERVOIR HEATER
[6 empty] | TAG NO. | USD-02 | P-2101-AP | H-2101-OH | P-2101-AX | P-2101-WP | H-2101-WH
TITLE | EQUIP. | TAG | Logic Diagram Document No. | DESCRIPTION | INTERLOCK NO. | LOCATION | UCP | MCC | MCC | MCC | MCC | MCC
SOUR GAS RECIPROCATING COMPRESSOR | C2101 / C-2102 | ESD-01 | BK-GCS-HY-120-IN-DW-0006 | CLIENT ESD SIGNAL |  | UCP | E
|  | HSC/L-2237 | BK-GCS-HY-120-IN-DW-0006 | EMERGENCY SHUTDOWN PUSH BUTTON |  | LCP | E
|  | TT-2191 A/B/C | BK-GCS-HY-120-IN-DW-0006 | 1ST STAGE DISCHARGE TEMPERATURE HIGH HIGH |  | UCP | E
|  | TT-2194 A/B/C | BK-GCS-HY-120-IN-DW-0006 | 2ND STAGE DISCHARGE TEMPERATURE HIGH HIGH |  | UCP | E
|  | PS-2195 A/B/C | BK-GCS-HY-120-IN-DW-0006 | 2ND STAGE DISCHARGE LINE PRESSURE HIGH HIGH |  | UCP | E
|  | TT-2203 A/B/C | BK-GCS-HY-120-IN-DW-0006 | CRANK CASE LUB OIL TEMPERATURE HIGH | I-30 | UCP |  |  | OFF
|  | TT-2203 A/B/C | BK-GCS-HY-120-IN-DW-0006 | CRANK CASE LUB OIL TEMPERATURE LOW | I-30 | UCP |  |  | ON
|  | PT-2204 A/B/C | BK-GCS-HY-120-IN-DW-0006 | LUB OIL PRESSURE HIGH | I-20 | UCP |  | OFF
|  | PT-2204 A/B/C | BK-GCS-HY-120-IN-DW-0006 | LUB OIL PRESSURE LOW | I-20 | UCP |  | ON
|  | PS-2204 A/B/C | BK-GCS-HY-120-IN-DW-0006 | LUB OIL PRESSURE LOW LOW |  | UCP | E
|  | LT-2213 A/B/C | BK-GCS-HY-120-IN-DW-0006 | COOLING WATER RESERVOIR LEVEL LOW LOW | I-22 | UCP |  |  |  | OFF | OFF
|  | TT-2213 A/B/C | BK-GCS-HY-120-IN-DW-0006 | COOLING WATER RESERVOIR TEMPERATURE LOW | I-26 | UCP | [5 empty] | ON
|  | TT-2213 A/B/C | BK-GCS-HY-120-IN-DW-0006 | COOLING WATER RESERVOIR TEMPERATURE HIGH | I-26 | UCP | [5 empty] | OFF
|  | PT-2220 A/B/C | BK-GCS-HY-120-IN-DW-0006 | COOLING WATER LINE PRESSURE HIGH | I-25 | UCP |  |  |  | OFF
|  | PT-2220 A/B/C | BK-GCS-HY-120-IN-DW-0006 | COOLING WATER LINE PRESSURE LOW | I-25 | UCP |  |  |  | ON
|  | PS-2220 A/B/C | BK-GCS-HY-120-IN-DW-0006 | COOLING WATER LINE PRESSURE LOW LOW |  | UCP | E
|  | VE-2200 A/B/C | BK-GCS-HY-120-IN-DW-0006 | COMPRESSOR FRAM VIBRATION HIGH HIGH |  | UCP | E
|  | VE-2201 A/B/C | BK-GCS-HY-120-IN-DW-0006 | COMPRESSOR FRAM VIBRATION HIGH HIGH |  | UCP | E
|  | VE-2202 A/B/C | BK-GCS-HY-120-IN-DW-0006 | COMPRESSOR FRAM VIBRATION HIGH HIGH |  | UCP | E
|  | TE-2216 A/B/C | BK-GCS-HY-120-IN-DW-0006 | BEARING TEMPERATURE HIGH HIGH |  | UCP | E
|  | TE-2218 A/B/C | BK-GCS-HY-120-IN-DW-0006 | BEARING TEMPERATURE HIGH HIGH |  | UCP | E
General Notes:
LEGEND: LCP: LOCAL CONTROL PANEL UCP: UNIT CONTROL PANEL MCC: MOTOR CONTROL CENTER E: ENERGIZE DE: DE-ENERGIZE
شماره پیمان:
053 - 073 - 9184
BK
GCS
HY
120
IN
LI
0001
V00
پروژه
بسته کاری
صادرکننده
تسهیلات
رشته
نوع مدرک
سریال
نسخه
NISOC
نگهداشت و افزایش تولید میدان نفتی بینک
سطح الارض و ابنیه تحت الارض/بسته ایستگاه تقویت فشار گاز
خرید پکیج های کمپرسور گاز (رفت و برگشتی) بینک
(قرارداد BK-HD-GCS-CO-0008_03)
شماره صفحه: 3 از 4
CAUSE AND EFFECT CHARTS LIST

## PAGE4
EFFECTS CAUSE | [5 empty] | TITLE | SOUR GAS RECIPROCATING COMPRESSOR
[6 empty] | EQUIP. | C2101 / C-2102
[6 empty] | EFFECT | COMMON SHUTDOWN SIGNAL TO CLIENT | COMPRESSOR MAIN MOTOR | COMPRESSOR UNLOAD | COMPRESSOR UNLOAD | COMPRESSOR UNLOAD | AUX. OIL PUMP | AUX. WATER PUMP | MAIN WATER PUMP | LUBRICATOR PUMP | LUB. OIL COOLER | COOLING WATER COOLER | SPILL-BACK VALVE
[6 empty] | TAG NO. | USD-01 |  | SV-21201 | SV-21202 | SV-21203 | P-2101-AP | P-2101-AX | P-2101-WP | M-2101-LP | AE-2101-OC | AE-2101-WC | PCV-2123
TITLE | EQUIP. | TAG | Logic Diagram Document No. | DESCRIPTION | INTERLOCK NO. | LOCATION | UCP | UCP | UCP | UCP | UCP | MCC | MCC | MCC | MCC | MCC | MCC | UCP
SOUR GAS RECIPROCATING COMPRESSOR | C2101 / C-2102 | USD-02 | BK-GCS-HY-120-IN-DW-0006 | UNIT COMMON SHUTDOWN |  | UCP | E | OFF | DE | DE | DE | ON (NOTE 1) | OFF | OFF | OFF (NOTE 2) | OFF | OFF | OPEN
General Notes: NOTE 1: AUX. OIL PUMP WILL BE STOPPED WITH DELAY TIME. NOTE 2: LUBRICATOR PUMP WILL BE STOPPED WITH DELAY TIME.
LEGEND: LCP: LOCAL CONTROL PANEL UCP: UNIT CONTROL PANEL MCC: MOTOR CONTROL CENTER E: ENERGIZE DE: DE-ENERGIZE
شماره پیمان:
053 - 073 - 9184
BK
GCS
HY
120
IN
LI
0001
V00
پروژه
بسته کاری
صادر کننده
تسهیلات
رشته
نوع مدرک
سریال
نسخه
NISOC
نگهداشت و افزایش تولید میدان نفتی بینک
سطح الارض و ابنیه تحت الارض/بسته ایستگاه تقویت فشار گاز
خرید پکیج های کمپرسور گاز (رفت و برگشتی) بینک
(قرارداد BK-HD-GCS-CO-0008_03)
شماره صفحه: 4 از 4
CAUSE AND EFFECT CHARTS LIST

## Messages (hidden)
Oval 931 | Sht 1
Oval 936 | Sht 1
Oval 1656 | Sht 1
Oval 87 | Sht 2
Oval 93 | Sht 2
Oval 94 | Sht 2
Oval 96 | Sht 2
Oval 502 | Sht 2
Oval 102 | Sht 2
Oval 89 | Sht 2
Oval 161 | Sht 4
Oval 525 | Sht 4
Oval 299 | Sht 4
Oval 209 | Sht 4
Rectangle 229 | Sht 4
Oval 241 | Sht 4
Oval 356 | Sht 5
Oval 349 | Sht 5
Oval 350 | Sht 5
Oval 581 | Sht 5
Oval 70 | Sht 11
Oval 71 | Sht 11
Oval 193 | Sht 12
Oval 192 | Sht 12
Oval 206 | Sht 12
Oval 196 | Sht 12
Oval 276 | Sht 13
Oval 277 | Sht 13
Oval 289 | Sht 13
Oval 321 | Sht 14
Oval 326 | Sht 14
Oval 546 | Sht 14
Oval 355 | Sht 14
Oval 358 | Sht 14
Oval 361 | Sht 14
Oval 369 | Sht 14
Oval 363 | Sht 14
Oval 371 | Sht 14
Oval 364 | Sht 14
Oval 372 | Sht 14