## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-HY-120-IN-LI-0001 |  |  |  |  | Vendor Tr. N0: |  |  | Transmital Date:
Document Title: CAUSE & EFFECT CHARTS LIST |  |  |  |  | Client Tr. No: BK-HD-PEDCO-SVTR-HY-0008 |  |  | Transmital Date: 2023/10/07
[5 empty] | CRS No: PEDCO-CRS-BK-GCS-HY-120-IN-LI-0001-V00 |  |  | CRS Status: | CM
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | با توجه به عدم همخوانی این مدرک با BK-GCS-PEDCO-120-PR-BD-0001؛ ESD block diagram و همچنین BK-GCS-PEDCO-120-PR-CE-0001؛ Cause and Effect مدرک نیاز به بازنگری کلی دارد. |  | BK-SUR-ENG-MEC-02-08065 | 2023-07-11 | مدرک Cause and Effect مربوط به پکیج کمپرسور می باشد و از مدرک مذکور (ESD Block Diagram) به صورت مجزا تهیه و بررسی می گردد.
1 | ضروریست نظرات صورتجلسه مورخ 1401/04/07 در دفتر ذینفع اصلی پروژه، در مدرک اعمال گردد. |  | BK-SUR-ENG-MEC-02-08065 | 2023-07-11 | انجام خواهد شد.
2 | نظرات ذینفع اصلی پروژه متعاقبا ارسال می گردد. |  | BK-SUR-ENG-MEC-02-08065 | 2023-07-11 | نظرات بررسی و تغییرات لازم اعمال خواهد شد.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: P.Hajisadeghi Ah.Behbahani | Signature | H.Naserizadeh |  |  | Clarified By: | Signature
| Date: 11 Jul 2023 |  |  |  |  | Date: