## COVER
نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض و ابنیه تحت الارض
خرید پکیج های کمپرسور گاز (رفت و برگشتی) بینک (قرارداد BK-HD-GCS-CO-0008_03)
شماره پیمان: |  |  | INSTRUMENT CABLE LIST | [10 empty] | شماره صفحه: 1 از8
|  |  | پروژه |  | بسته کاری | صادرکننده | تسهیلات |  | رشته | نوع مدرک | سریال | نسخه
9184 – 073 - 053 |  |  | BK |  | GCS | HY | 120 |  | IN | LI | 0003 | V01
طرح نگهداشت و افزایش تولید 27 مخزن
INSTRUMENT CABLE LIST نگهداشت و افزایش تولید میدان نفتی بینک
V01 |  | OCT.2023 |  | AFC |  |  |  | Havayar Co. |  |  | M.Fakharian |  | S.Faramarzpour
V00 |  | SEP.2023 |  | IFR |  |  |  | Havayar Co. |  |  | M.Fakharian |  | A.M.Mohseni
Rev. |  | Date |  | Purpose of Issue / Status |  |  |  | Prepared by: |  |  | Checked by: |  | Approved by: |  | CLIENT Approval
status:
IFA: Issued For Approval
IFR: Issued For Review
IFI: Issued For Information
AFC: Approved For Construction

## REVISION
نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض و ابنیه تحت الارض
خرید پکیج های کمپرسور گاز (رفت و برگشتی) بینک (قرارداد BK-HD-GCS-CO-0008_03)
شماره پیمان: |  |  | INSTRUMENT CABLE LIST | [12 empty] | شماره صفحه:2 از 8
|  |  | پروژه |  | بسته کاری | صادرکننده | تسهیلات |  | رشته | نوع مدرک |  | سریال |  | نسخه
9184 – 073 - 053 |  |  | BK |  | GCS | HY | 120 |  | IN | LI |  | 0003 |  | V01
REVISION RECORD SHEET
Page | V00 | V01 |  | V02 |  | V03 |  | V04 |  |  | Page |  | V00 |  | V01 |  | V02 | V03 | V04
1 | X | X | [8 empty] | 65
2 | X | X | [8 empty] | 66
3 | X | X | [8 empty] | 67
4 | X | X | [8 empty] | 68
5 | X | X | [8 empty] | 69
6 | X | X | [8 empty] | 70
7 | X | X | [8 empty] | 71
8 | X | X | [8 empty] | 72
9 | [10 empty] | 73
10 | [10 empty] | 74
11 | [10 empty] | 75
12 | [10 empty] | 76
13 | [10 empty] | 77
14 | [10 empty] | 78
15 | [10 empty] | 79
16 | [10 empty] | 80
17 | [10 empty] | 81
18 | [10 empty] | 82
19 | [10 empty] | 83
20 | [10 empty] | 84
21 | [10 empty] | 85
22 | [10 empty] | 86
23 | [10 empty] | 87
24 | [10 empty] | 88
25 | [10 empty] | 89
26 | [10 empty] | 90
27 | [10 empty] | 91
28 | [10 empty] | 92
29 | [10 empty] | 93
30 | [10 empty] | 94
31 | [10 empty] | 95
32 | [10 empty] | 96
33 | [10 empty] | 97
34 | [10 empty] | 98
35 | [10 empty] | 99
36 | [10 empty] | 100
37 | [10 empty] | 101
38 | [10 empty] | 102
39 | [10 empty] | 103
40 | [10 empty] | 104
41 | [10 empty] | 105
42 | [10 empty] | 106
43 | [10 empty] | 107
44 | [10 empty] | 108
45 | [10 empty] | 109
46 | [10 empty] | 110
47 | [10 empty] | 111
48 | [10 empty] | 112
49 | [10 empty] | 113
50 | [10 empty] | 114
51 | [10 empty] | 115
52 | [10 empty] | 116
53 | [10 empty] | 117
54 | [10 empty] | 118
55 | [10 empty] | 119
56 | [10 empty] | 120
57 | [10 empty] | 121
58 | [10 empty] | 122
59 | [10 empty] | 123
60 | [10 empty] | 124
61 | [10 empty] | 125
62 | [10 empty] | 126
63 | [10 empty] | 127
64 | [10 empty] | 128

## CompA
نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض و ابنیه تحت الارض
خرید پکیج های کمپرسور گاز (رفت و برگشتی) بینک (قرارداد BK-HD-GCS-CO-0008_03)
شماره پیمان: |  | INSTRUMENT CABLE LIST
|  | پروژه | بسته کاری | صادرکننده | تسهیلات |  | رشته | نوع مدرک | سریال | نسخه | شماره صفحه:3 از 8
9184 – 073 - 053 |  | BK | GCS | HY | 120 |  | IN | LI | 0003 | V01
Item No. | Cable Tag No. | From | To |  | Cable size | Description |  |  | Color | Cable Length (m) | Gland | IS/NIS | Remark
1 | IC-SV-2201A | JB-D-2200A | SV-2201A |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
2 | IC-SV-2202A |  | SV-2202A |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
3 | IC-SV-2203A |  | SV-2203A |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
5 | IC-PY-2123A |  | PY-2123A |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar Loose Item
6 | MC-JB-D-2200A | UCP-2101A | JB-D-2200A |  | 7x2x2.5mm^3 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
7 | IC-CZSO-2123A | CZSO-2123A | JB-D-2201A |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar Loose Item
8 | IC-CZSC-2123A | CZSC-2123A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar Loose Item
9 | MC-JB-D-2201A | JB-D-2201A | UCP-2101A |  | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
10 | IC-TS-2191A | TS-2191A | JB-D-2203A |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
11 | IC-TS-2194A | TS-2194A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
12 | IC-PS-2195A | PS-2195A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
13 | IC-PS-2204A | PS-2204A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
14 | IC-PS-2220A | PS-2220A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
15 | MC-JB-D-2203A | JB-D-2203A | UCP-2101A |  | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
16 | IC-FT-2121A | FT-2121A | JB-A-2200A |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
17 | IC-TT-2122A | TT-2122A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
18 | IC-PDT-2122A | PDT-2122A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
19 | IC-PT-2123A | PT-2123A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
20 | MC-JB-A-2200A | JB-A-2200A | UCP-2101A | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M32 | IS | Supply by Client Gland size final by client
21 | IC-PT-2201A | PT-2201A | JB-A-2201A |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
22 | IC-PT-2210A | PT-2210A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
23 | IC-PT-2211A | PT-2211A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
24 | IC-TT-2191A | TT-2191A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
25 | IC-TT-2123A | TT-2123A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
26 | IC-PT-2124A | PT-2124A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
27 | MC-JB-A-2201A | JB-A-2201A | UCP-2101A | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M40 | IS | Supply by Client Gland size final by client
28 | IC-FT-2197A | FT-2197A | JB-A-2202A |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
29 | IC-PT-2197A | PT-2197A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
30 | IC-TT-2197A | TT-2197A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
31 | IC-PDT-2197A | PDT-2197A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
32 | MC-JB-A-2202A | JB-A-2202A | UCP-2101A | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M32 | IS | Supply by Client Gland size final by client
33 | IC-PT-2133A | PT-2133A | JB-A-2203A |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
34 | IC-TT-2133A | TT-2133A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
35 | IC-TT-2194A | TT-2194A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
36 | IC-PCVY-2197A | PCVY-2197A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
37 | IC-PCYZ-2123A | PCYZ-2123A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
38 | MC-JB-A-2203A | JB-A-2203A | UCP-2101A | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M32 | IS | Supply by Client Gland size final by client
39 | IC-PT-2204A | PT-2204A | JB-A-2204A |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
40 | IC-TT-2204A | TT-2204A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
41 | IC-PDT-2204A | PDT-2204A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
42 | IC-PT-2200A | PT-2200A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Client
43 | IC-LT-2200A | LT-2200A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
44 | IC-TT-2203A | TT-2203A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
45 | MC-JB-A-2204A | JB-A-2204A | UCP-2101A | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M40 | IS | Supply by Client Gland size final by client
46 | IC-PT-2220A | PT-2220A | JB-A-2205A |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
47 | IC-PT-2221A | PT-2221A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
48 | IC-LT-2213A | LT-2213A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
49 | IC-TT-2213A | TT-2213A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
50 | IC-FT-2206A | FT-2206A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
51 | MC-JB-A-2205A | JB-A-2205A | UCP-2101A | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M32 | IS | Supply by Client Gland size final by client
52 | IC-TE-2214A | TE-2214A | TT-2214A |  | 1x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
53 | IC-TE-2215A | TE-2215A | TT-2214A |  | 1x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
54 | IC-TE-2216A | TE-2216A | TT-2216A |  | 1x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
55 | IC-TE-2217A | TE-2217A | TT-22117A | TT-22117A | 1x3x0.5mm^2 | Special Cable-RTD cable 3x0.5mm^2 |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
56 | IC-TE-2218A | TE-2218A | TT-2218A | TT-2218A | 1x3x0.5mm^2 | Special Cable-RTD cable 3x0.5mm^2 |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
57 | IC-TE-2219A | TE-2219A | TT-2219A | TT-2219A | 1x3x0.5mm^2 | Special Cable-RTD cable 3x0.5mm^2 |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
58 | IC-TT-2214A | TT-2214A | JB-A-2206A |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
59 | IC-TT-2215A | TT-2215A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
60 | IC-TT-2216A | TT-2216A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
61 | IC-TT-2217A | TT-2217A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
62 | IC-TT-2218A | TT-2218A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
63 | IC-TT-2219A | TT-2219A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
64 | MC-JB-A-2206A | JB-A-2206A | UCP-2101A | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M32 | IS | Supply by Client Gland size final by client
65 | IC-VT-2201A | VT-2201A | JB-A-2207A |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
66 | IC-VT-2202A | VT-2202A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
67 | IC-ZT-2200A | ZT-2200A |  |  | Special cable | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | N/A | 8 | M20 | N/A | Supply by Havayar
68 | IC-ZT-2201A | ZT-2201A |  |  | Special cable | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | N/A | 8 | M20 | N/A | Supply by Havayar
69 | IC-XT-2201A | XT-2201A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 8 | M20 | IS | Supply by Havayar
70 | MC-JB-A-2207A | JB-A-2207A | UCP-2101A | 40-JB-DIA-351 | 12x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M50 | IS | Supply by Client Gland size final by client
71 | IC-MO-2201A | Motor- RTD JB | UCP-2101A |  | 12x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M50 | NIS | Supply by Client Gland size final by client
72 | MC-LCP-2101A1 | LCP-2101A | UCP-2101A | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M40 | NIS | Supply by Client Gland size final by client
73 | MC-LCP-2101A2 | LCP-2101A | UCP-2101A | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
74 | MC-LCP-2101A3 | LCP-2101A | UCP-2101A | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M40 | NIS | Supply by Client Gland size final by client
75 | MC-LCP-2101A4 | LCP-2101A | UCP-2101A | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M40 | NIS | Supply by Client Gland size final by client
76 | MC-LCP-2101A5 | LCP-2101A | UCP-2101A | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M40 | NIS | Supply by Client Gland size final by client
77 | MC-LCP-2101A6 | LCP-2101A | UCP-2101A | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M40 | NIS | Supply by Client Gland size final by client
78 | MC-LCP-2101A7 | LCP-2101A | UCP-2101A | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
79 | MC-LCP-2101A8 | LCP-2101A | UCP-2101A | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
80 | MC-MCC-2101A1 | UCP-2101A | OIL HEATER MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
81 | MC-MCC-2101A2 | UCP-2101A | AUX OIL PUMP MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
82 | MC-MCC-2101A3 | UCP-2101A | LUBRICATOR HEATER MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
83 | MC-MCC-2101A4 | UCP-2101A | LUBRICATOR MOTOR MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
84 | MC-MCC-2101A5 | UCP-2101A | MAIN MOTOR MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
85 | MC-MCC-2101A6 | UCP-2101A | OIL COOLER MOTOR MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
86 | MC-MCC-2101A7 | UCP-2101A | MAIN WATER PUMP MOTOR MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
87 | MC-MCC-2101A8 | UCP-2101A | AUX WATER PUMP MOTOR MCC | 40-JB-DIA-352 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
88 | MC-MCC-2101A9 | UCP-2101A | WATER HEATER MCC | 40-JB-EIA-356 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Havayar
89 | MC-MCC-2101A10 | UCP-2101A | WATER COOLER MCC | 40-JB-EIA-357 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Havayar
90 | MC-MCC-2101A11 | UCP-2101A | BARRING MOTOR MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Havayar
91 | MC-ESD-2101A | ESD | UCP-2101A | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
92 | MC-DCS-2101A | DCS | UCP-2101A | 40-JB-DIA-351 | 4x2x1mm^2 | CU,PVC,OSC,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Modbus RTU

## CompB
نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض و ابنیه تحت الارض
خرید پکیج های کمپرسور گاز (رفت و برگشتی) بینک (قرارداد BK-HD-GCS-CO-0008_03)
شماره پیمان: |  | INSTRUMENT CABLE LIST
|  | پروژه | بسته کاری | صادرکننده | تسهیلات |  | رشته | نوع مدرک | سریال | نسخه | شماره صفحه:3 از 8
9184 – 073 - 053 |  | BK | GCS | HY | 120 |  | IN | LI | 0003 | V01
Item No. | Cable Tag No. | From | To |  | Cable size | Description |  |  | Color | Cable Length (m) | Gland | IS/NIS | Remark
1 | IC-SV-2201B | JB-D-2200B | SV-2201B |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
2 | IC-SV-2202B |  | SV-2202B |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
3 | IC-SV-2203B |  | SV-2203B |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
5 | IC-PY-2123B |  | PY-2123B |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar Loose Item
6 | MC-JB-D-2200B | UCP-2101B | JB-D-2200B |  | 7x2x2.5mm^3 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
7 | IC-CZSO-2123B | CZSO-2123B | JB-D-2201B |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar Loose Item
8 | IC-CZSC-2123B | CZSC-2123B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar Loose Item
9 | MC-JB-D-2201B | JB-D-2201B | UCP-2101B |  | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
10 | IC-TS-2191B | TS-2191B | JB-D-2203B |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
11 | IC-TS-2194B | TS-2194B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
12 | IC-PS-2195B | PS-2195B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
13 | IC-PS-2204B | PS-2204B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
14 | IC-PS-2220B | PS-2220B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
15 | MC-JB-D-2203B | JB-D-2203B | UCP-2101B |  | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
16 | IC-FT-2121B | FT-2121B | JB-A-2200B |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
17 | IC-TT-2122B | TT-2122B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
18 | IC-PDT-2122B | PDT-2122B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
19 | IC-PT-2123B | PT-2123B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
20 | MC-JB-A-2200B | JB-A-2200B | UCP-2101B | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M32 | IS | Supply by Client Gland size final by client
21 | IC-PT-2201B | PT-2201B | JB-A-2201B |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
22 | IC-PT-2210B | PT-2210B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
23 | IC-PT-2211B | PT-2211B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
24 | IC-TT-2191B | TT-2191B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
25 | IC-TT-2123B | TT-2123B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
26 | IC-PT-2124B | PT-2124B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
27 | MC-JB-A-2201B | JB-A-2201B | UCP-2101B | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M40 | IS | Supply by Client Gland size final by client
28 | IC-FT-2197B | FT-2197B | JB-A-2202B |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
29 | IC-PT-2197B | PT-2197B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
30 | IC-TT-2197B | TT-2197B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
31 | IC-PDT-2197B | PDT-2197B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
32 | MC-JB-A-2202B | JB-A-2202B | UCP-2101B | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M32 | IS | Supply by Client Gland size final by client
33 | IC-PT-2133B | PT-2133B | JB-A-2203B |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
34 | IC-TT-2133B | TT-2133B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
35 | IC-TT-2194B | TT-2194B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
36 | IC-PCVY-2197B | PCVY-2197B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
37 | IC-PCYZ-2123B | PCYZ-2123B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
38 | MC-JB-A-2203B | JB-A-2203B | UCP-2101B | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M32 | IS | Supply by Client Gland size final by client
39 | IC-PT-2204B | PT-2204B | JB-A-2204B |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
40 | IC-TT-2204B | TT-2204B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
41 | IC-PDT-2204B | PDT-2204B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
42 | IC-PT-2200B | PT-2200B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Client
43 | IC-LT-2200B | LT-2200B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
44 | IC-TT-2203B | TT-2203B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
45 | MC-JB-A-2204B | JB-A-2204B | UCP-2101B | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M40 | IS | Supply by Client Gland size final by client
46 | IC-PT-2220B | PT-2220B | JB-A-2205B |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
47 | IC-PT-2221B | PT-2221B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
48 | IC-LT-2213B | LT-2213B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
49 | IC-TT-2213B | TT-2213B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
50 | IC-FT-2206B | FT-2206B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
51 | MC-JB-A-2205B | JB-A-2205B | UCP-2101B | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M32 | IS | Supply by Client Gland size final by client
52 | IC-TE-2214B | TE-2214B | TT-2214B |  | 1x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
53 | IC-TE-2215B | TE-2215B | TT-2214B |  | 1x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
54 | IC-TE-2216B | TE-2216B | TT-2216B |  | 1x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
55 | IC-TE-2217B | TE-2217B | TT-22117B | TT-22117A | 1x3x0.5mm^2 | Special Cable-RTD cable 3x0.5mm^2 |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
56 | IC-TE-2218B | TE-2218B | TT-2218B | TT-2218A | 1x3x0.5mm^2 | Special Cable-RTD cable 3x0.5mm^2 |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
57 | IC-TE-2219B | TE-2219B | TT-2219B | TT-2219A | 1x3x0.5mm^2 | Special Cable-RTD cable 3x0.5mm^2 |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
58 | IC-TT-2214B | TT-2214B | JB-A-2206B |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
59 | IC-TT-2215B | TT-2215B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
60 | IC-TT-2216B | TT-2216B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
61 | IC-TT-2217B | TT-2217B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
62 | IC-TT-2218B | TT-2218B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
63 | IC-TT-2219B | TT-2219B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
64 | MC-JB-A-2206B | JB-A-2206B | UCP-2101B | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M32 | IS | Supply by Client Gland size final by client
65 | IC-VT-2201B | VT-2201B | JB-A-2207B |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
66 | IC-VT-2202B | VT-2202B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
67 | IC-ZT-2200B | ZT-2200B |  |  | Special cable | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | N/A | 8 | M20 | N/A | Supply by Havayar
68 | IC-ZT-2201B | ZT-2201B |  |  | Special cable | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | N/A | 8 | M20 | N/A | Supply by Havayar
69 | IC-XT-2201B | XT-2201B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 8 | M20 | IS | Supply by Havayar
70 | MC-JB-A-2207B | JB-A-2207B | UCP-2101B | 40-JB-DIA-351 | 12x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M50 | IS | Supply by Client Gland size final by client
71 | IC-MO-2201B | Motor- RTD JB | UCP-2101B |  | 12x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M50 | NIS | Supply by Client Gland size final by client
72 | MC-LCP-2101B1 | LCP-2101B | UCP-2101B | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M40 | NIS | Supply by Client Gland size final by client
73 | MC-LCP-2101B2 | LCP-2101B | UCP-2101B | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
74 | MC-LCP-2101B3 | LCP-2101B | UCP-2101B | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M40 | NIS | Supply by Client Gland size final by client
75 | MC-LCP-2101B4 | LCP-2101B | UCP-2101B | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M40 | NIS | Supply by Client Gland size final by client
76 | MC-LCP-2101B5 | LCP-2101B | UCP-2101B | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M40 | NIS | Supply by Client Gland size final by client
77 | MC-LCP-2101B6 | LCP-2101B | UCP-2101B | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M40 | NIS | Supply by Client Gland size final by client
78 | MC-LCP-2101B7 | LCP-2101B | UCP-2101B | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
79 | MC-LCP-2101B8 | LCP-2101B | UCP-2101B | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
80 | MC-MCC-2101B1 | UCP-2101B | OIL HEATER MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
81 | MC-MCC-2101B2 | UCP-2101B | AUX OIL PUMP MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
82 | MC-MCC-2101B3 | UCP-2101B | LUBRICATOR HEATER MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
83 | MC-MCC-2101B4 | UCP-2101B | LUBRICATOR MOTOR MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
84 | MC-MCC-2101B5 | UCP-2101B | MAIN MOTOR MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
85 | MC-MCC-2101B6 | UCP-2101B | OIL COOLER MOTOR MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
86 | MC-MCC-2101B7 | UCP-2101B | MAIN WATER PUMP MOTOR MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
87 | MC-MCC-2101B8 | UCP-2101B | AUX WATER PUMP MOTOR MCC | 40-JB-DIA-352 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
88 | MC-MCC-2101B9 | UCP-2101B | WATER HEATER MCC | 40-JB-EIA-356 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Havayar
89 | MC-MCC-2101B10 | UCP-2101B | WATER COOLER MCC | 40-JB-EIA-357 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Havayar
90 | MC-MCC-2101B11 | UCP-2101B | BARRING MOTOR MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Havayar
91 | MC-ESD-2101B | ESD | UCP-2101B | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
92 | MC-DCS-2101B | DCS | UCP-2101B | 40-JB-DIA-351 | 4x2x1mm^2 | CU,PVC,OSC,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Modbus RTU

## CompB (2)
نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض و ابنیه تحت الارض
خرید پکیج های کمپرسور گاز (رفت و برگشتی) بینک (قرارداد BK-HD-GCS-CO-0008_03)
شماره پیمان: |  | INSTRUMENT CABLE LIST
|  | پروژه | بسته کاری | صادرکننده | تسهیلات |  | رشته | نوع مدرک | سریال | نسخه | شماره صفحه:3 از 8
9184 – 073 - 053 |  | BK | GCS | HY | 120 |  | IN | LI | 0003 | V01
Item No. | Cable Tag No. | From | To |  | Cable size | Description |  |  | Color | Cable Length (m) | Gland | IS/NIS | Remark
1 | IC-SV-2201C | JB-D-2200C | SV-2201C |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
2 | IC-SV-2202C |  | SV-2202C |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
3 | IC-SV-2203C |  | SV-2203C |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
5 | IC-PY-2123C |  | PY-2123C |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar Loose Item
6 | MC-JB-D-2200C | UCP-2101C | JB-D-2200C |  | 7x2x2.5mm^3 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
7 | IC-CZSO-2123C | CZSO-2123C | JB-D-2201C |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar Loose Item
8 | IC-CZSC-2123C | CZSC-2123C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar Loose Item
9 | MC-JB-D-2201C | JB-D-2201C | UCP-2101C |  | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
10 | IC-TS-2191C | TS-2191C | JB-D-2203C |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
11 | IC-TS-2194C | TS-2194C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
12 | IC-PS-2195C | PS-2195C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
13 | IC-PS-2204C | PS-2204C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
14 | IC-PS-2220C | PS-2220C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
15 | MC-JB-D-2203C | JB-D-2203C | UCP-2101C |  | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
16 | IC-FT-2121C | FT-2121C | JB-A-2200C |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
17 | IC-TT-2122C | TT-2122C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
18 | IC-PDT-2122C | PDT-2122C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
19 | IC-PT-2123C | PT-2123C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
20 | MC-JB-A-2200C | JB-A-2200C | UCP-2101C | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M32 | IS | Supply by Client Gland size final by client
21 | IC-PT-2201C | PT-2201C | JB-A-2201C |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
22 | IC-PT-2210C | PT-2210C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
23 | IC-PT-2211C | PT-2211C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
24 | IC-TT-2191C | TT-2191C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
25 | IC-TT-2123C | TT-2123C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
26 | IC-PT-2124C | PT-2124C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
27 | MC-JB-A-2201C | JB-A-2201C | UCP-2101C | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M40 | IS | Supply by Client Gland size final by client
28 | IC-FT-2197C | FT-2197C | JB-A-2202C |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
29 | IC-PT-2197C | PT-2197C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
30 | IC-TT-2197C | TT-2197C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
31 | IC-PDT-2197C | PDT-2197C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
32 | MC-JB-A-2202C | JB-A-2202C | UCP-2101C | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M32 | IS | Supply by Client Gland size final by client
33 | IC-PT-2133C | PT-2133C | JB-A-2203C |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
34 | IC-TT-2133C | TT-2133C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
35 | IC-TT-2194C | TT-2194C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
36 | IC-PCVY-2197C | PCVY-2197C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
37 | IC-PCYZ-2123C | PCYZ-2123C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
38 | MC-JB-A-2203C | JB-A-2203C | UCP-2101C | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M32 | IS | Supply by Client Gland size final by client
39 | IC-PT-2204C | PT-2204C | JB-A-2204C |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
40 | IC-TT-2204C | TT-2204C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
41 | IC-PDT-2204C | PDT-2204C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
42 | IC-PT-2200C | PT-2200C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Client
43 | IC-LT-2200C | LT-2200C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
44 | IC-TT-2203C | TT-2203C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
45 | MC-JB-A-2204C | JB-A-2204C | UCP-2101C | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M40 | IS | Supply by Client Gland size final by client
46 | IC-PT-2220C | PT-2220C | JB-A-2205C |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
47 | IC-PT-2221C | PT-2221C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
48 | IC-LT-2213C | LT-2213C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
49 | IC-TT-2213C | TT-2213C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
50 | IC-FT-2206C | FT-2206C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
51 | MC-JB-A-2205C | JB-A-2205C | UCP-2101C | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M32 | IS | Supply by Client Gland size final by client
52 | IC-TE-2214C | TE-2214C | TT-2214C |  | 1x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
53 | IC-TE-2215C | TE-2215C | TT-2214C |  | 1x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
54 | IC-TE-2216C | TE-2216C | TT-2216C |  | 1x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
55 | IC-TE-2217C | TE-2217C | TT-22117C | TT-22117A | 1x3x0.5mm^2 | Special Cable-RTD cable 3x0.5mm^2 |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
56 | IC-TE-2218C | TE-2218C | TT-2218C | TT-2218A | 1x3x0.5mm^2 | Special Cable-RTD cable 3x0.5mm^2 |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
57 | IC-TE-2219C | TE-2219C | TT-2219C | TT-2219A | 1x3x0.5mm^2 | Special Cable-RTD cable 3x0.5mm^2 |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
58 | IC-TT-2214C | TT-2214C | JB-A-2206C |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
59 | IC-TT-2215C | TT-2215C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
60 | IC-TT-2216C | TT-2216C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
61 | IC-TT-2217C | TT-2217C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
62 | IC-TT-2218C | TT-2218C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
63 | IC-TT-2219C | TT-2219C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
64 | MC-JB-A-2206C | JB-A-2206C | UCP-2101C | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M32 | IS | Supply by Client Gland size final by client
65 | IC-VT-2201C | VT-2201C | JB-A-2207C |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
66 | IC-VT-2202C | VT-2202C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
67 | IC-ZT-2200C | ZT-2200C |  |  | Special cable | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | N/A | 8 | M20 | N/A | Supply by Havayar
68 | IC-ZT-2201C | ZT-2201C |  |  | Special cable | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | N/A | 8 | M20 | N/A | Supply by Havayar
69 | IC-XT-2201C | XT-2201C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 8 | M20 | IS | Supply by Havayar
70 | MC-JB-A-2207C | JB-A-2207C | UCP-2101C | 40-JB-DIA-351 | 12x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | By Client | M50 | IS | Supply by Client Gland size final by client
71 | IC-MO-2201C | Motor- RTD JB | UCP-2101C |  | 12x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M50 | NIS | Supply by Client Gland size final by client
72 | MC-LCP-2101C1 | LCP-2101C | UCP-2101C | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M40 | NIS | Supply by Client Gland size final by client
73 | MC-LCP-2101C2 | LCP-2101C | UCP-2101C | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
74 | MC-LCP-2101C3 | LCP-2101C | UCP-2101C | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M40 | NIS | Supply by Client Gland size final by client
75 | MC-LCP-2101C4 | LCP-2101C | UCP-2101C | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M40 | NIS | Supply by Client Gland size final by client
76 | MC-LCP-2101C5 | LCP-2101C | UCP-2101C | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M40 | NIS | Supply by Client Gland size final by client
77 | MC-LCP-2101C6 | LCP-2101C | UCP-2101C | 40-JB-DIA-351 | 12x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M40 | NIS | Supply by Client Gland size final by client
78 | MC-LCP-2101C7 | LCP-2101C | UCP-2101C | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
79 | MC-LCP-2101C8 | LCP-2101C | UCP-2101C | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
80 | MC-MCC-2101C1 | UCP-2101C | OIL HEATER MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
81 | MC-MCC-2101C2 | UCP-2101C | AUX OIL PUMP MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
82 | MC-MCC-2101C3 | UCP-2101C | LUBRICATOR HEATER MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
83 | MC-MCC-2101C4 | UCP-2101C | LUBRICATOR MOTOR MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
84 | MC-MCC-2101C5 | UCP-2101C | MAIN MOTOR MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
85 | MC-MCC-2101C6 | UCP-2101C | OIL COOLER MOTOR MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
86 | MC-MCC-2101C7 | UCP-2101C | MAIN WATER PUMP MOTOR MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
87 | MC-MCC-2101C8 | UCP-2101C | AUX WATER PUMP MOTOR MCC | 40-JB-DIA-352 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
88 | MC-MCC-2101C9 | UCP-2101C | WATER HEATER MCC | 40-JB-EIA-356 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Havayar
89 | MC-MCC-2101C10 | UCP-2101C | WATER COOLER MCC | 40-JB-EIA-357 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Havayar
90 | MC-MCC-2101C11 | UCP-2101C | BARRING MOTOR MCC | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Havayar
91 | MC-ESD-2101C | ESD | UCP-2101C | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Gland size final by client
92 | MC-DCS-2101C | DCS | UCP-2101C | 40-JB-DIA-351 | 4x2x1mm^2 | CU,PVC,OSC,PVC,FLAME RETARDANT |  |  | Gray | By Client | M32 | NIS | Supply by Client Modbus RTU