## COVER
نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض و ابنیه تحت الارض
خرید پکیج های کمپرسور گاز (رفت و برگشتی) بینک (قرارداد BK-HD-GCS-CO-0008_03)
شماره پیمان: |  |  | INSTRUMENT CABLE LIST | [10 empty] | شماره صفحه: 1 از8
|  |  | پروژه |  | بسته کاری | صادرکننده | تسهیلات |  | رشته | نوع مدرک | سریال | نسخه
9184 – 073 - 053 |  |  | BK |  | GCS | HY | 120 |  | IN | LI | 0003 | V02
طرح نگهداشت و افزایش تولید 27 مخزن
INSTRUMENT CABLE LIST نگهداشت و افزایش تولید میدان نفتی بینک
V02 |  | NOV.2023 |  | AFC |  |  |  | Havayar Co. |  |  | M.Fakharian |  | S.Faramarzpour
V01 |  | OCT.2023 |  | AFC |  |  |  | Havayar Co. |  |  | M.Fakharian |  | S.Faramarzpour
V00 |  | SEP.2023 |  | IFI |  |  |  | Havayar Co. |  |  | M.Fakharian |  | M.Mehrshad
Rev. |  | Date |  | Purpose of Issue / Status |  |  |  | Prepared by: |  |  | Checked by: |  | Approved by: |  | CLIENT Approval
CLIENT Doc. Number:
status: | s
IFR: Issued For Review
IFA: Issued For Approval
IFI: Issued For Information
AFC: Approved For Construction

## REVISION
نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض و ابنیه تحت الارض
خرید پکیج های کمپرسور گاز (رفت و برگشتی) بینک (قرارداد BK-HD-GCS-CO-0008_03)
شماره پیمان: |  |  | INSTRUMENT CABLE LIST | [12 empty] | شماره صفحه:2 از 8
|  |  | پروژه |  | بسته کاری | صادرکننده | تسهیلات |  | رشته | نوع مدرک |  | سریال |  | نسخه
9184 – 073 - 053 |  |  | BK |  | GCS | HY | 120 |  | IN | LI |  | 0003 |  | V02
REVISION RECORD SHEET
Page | V00 | V01 |  | V02 |  | V03 |  | V04 |  |  | Page |  | V00 |  | V01 |  | V02 | V03 | V04
1 | X | X |  | X | [6 empty] | 65
2 | X | X |  | X | [6 empty] | 66
3 | X | X |  | X | [6 empty] | 67
4 | X | X |  | X | [6 empty] | 68
5 | X | X |  | X | [6 empty] | 69
6 | X | X |  | X | [6 empty] | 70
7 | X | X |  | X | [6 empty] | 71
8 | X | X |  | X | [6 empty] | 72
9 | [10 empty] | 73
10 | [10 empty] | 74
11 | [10 empty] | 75
12 | [10 empty] | 76
13 | [10 empty] | 77
14 | [10 empty] | 78
15 | [10 empty] | 79
16 | [10 empty] | 80
17 | [10 empty] | 81
18 | [10 empty] | 82
19 | [10 empty] | 83
20 | [10 empty] | 84
21 | [10 empty] | 85
22 | [10 empty] | 86
23 | [10 empty] | 87
24 | [10 empty] | 88
25 | [10 empty] | 89
26 | [10 empty] | 90
27 | [10 empty] | 91
28 | [10 empty] | 92
29 | [10 empty] | 93
30 | [10 empty] | 94
31 | [10 empty] | 95
32 | [10 empty] | 96
33 | [10 empty] | 97
34 | [10 empty] | 98
35 | [10 empty] | 99
36 | [10 empty] | 100
37 | [10 empty] | 101
38 | [10 empty] | 102
39 | [10 empty] | 103
40 | [10 empty] | 104
41 | [10 empty] | 105
42 | [10 empty] | 106
43 | [10 empty] | 107
44 | [10 empty] | 108
45 | [10 empty] | 109
46 | [10 empty] | 110
47 | [10 empty] | 111
48 | [10 empty] | 112
49 | [10 empty] | 113
50 | [10 empty] | 114
51 | [10 empty] | 115
52 | [10 empty] | 116
53 | [10 empty] | 117
54 | [10 empty] | 118
55 | [10 empty] | 119
56 | [10 empty] | 120
57 | [10 empty] | 121
58 | [10 empty] | 122
59 | [10 empty] | 123
60 | [10 empty] | 124
61 | [10 empty] | 125
62 | [10 empty] | 126
63 | [10 empty] | 127
64 | [10 empty] | 128

## CompA
نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض و ابنیه تحت الارض
خرید پکیج های کمپرسور گاز (رفت و برگشتی) بینک (قرارداد BK-HD-GCS-CO-0008_03)
شماره پیمان: |  | INSTRUMENT CABLE LIST
|  | پروژه | بسته کاری | صادرکننده | تسهیلات |  | رشته | نوع مدرک | سریال | نسخه | شماره صفحه:3 از 8
9184 – 073 - 053 |  | BK | GCS | HY | 120 |  | IN | LI | 0003 | V02
Item No. | Cable Tag No. | From | To |  | Cable size | Description |  |  | Color | Cable Length (m) | Gland | IS/NIS | Remark
1 | IC-SV-2201A | JBU-S-2101A | SV-2201A |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
2 | IC-SV-2202A |  | SV-2202A |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
3 | IC-SV-2203A |  | SV-2203A |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
5 | IC-PY-2123A |  | PY-2123A |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar Loose Item
6 | MC-JBU-S-2101A | UCP-2101A | JBU-S-2101A |  | 7x2x2.5mm^3 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M32 | NIS | Out of Havayar scope of work
7 | IC-CZSO-2123A | CZSO-2123A | JBU-D-2101A |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 20 | M20 | NIS | Supply by Havayar Loose Item
8 | IC-CZSC-2123A | CZSC-2123A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 20 | M20 | NIS | Supply by Havayar Loose Item
9 | MC-JBU-D-2101A | JBU-D-2101A | UCP-2101A |  | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M32 | NIS | Out of Havayar scope of work
10 | IC-TS-2191A | TS-2191A | JBU-D-2102A |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
11 | IC-TS-2194A | TS-2194A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
12 | IC-PS-2133A | PS-2133A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
13 | IC-PS-2204A | PS-2204A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
14 | IC-PS-2220A | PS-2220A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
15 | MC-JBU-D-2102A | JBU-D-2102A | UCP-2101A |  | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M32 | NIS | Out of Havayar scope of work
Note1
16 | IC-FT-2121A | FT-2121A | JBU-A-2101A |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
17 | IC-TT-2122A | TT-2122A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
18 | IC-PDT-2122A | PDT-2122A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
19 | IC-PT-2123A | PT-2123A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
20 | IC-TT-2123A | TT-2123A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
21 | IC-PT-2124A | PT-2124A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
22 | IC-FT-2131A | FT-2131A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
23 | IC-TT-2132A | TT-2132A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
24 | IC-PT-2132A | PT-2132A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
25 | IC-PDT-2132A | PDT-2132A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
26 | IC-TT-2133A | TT-2133A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
27 | IC-PT-2133A | PT-2133A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
28 | IC-PCVY-2123A | PCVY-2123A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
29 | IC-PCYZ-2123A | PCYZ-2123A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
30 | MC-JBU-A-2101A | JBU-A-2101A | UCP-2101A |  | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | Hold | M50 | IS | Out of Havayar scope of work
31 | IC-TE-2214A | TE-2214A | TT-2214A |  | 1x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
32 | IC-TE-2215A | TE-2215A | TT-2214A |  | 1x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
33 | IC-TE-2216A | TE-2216A | TT-2216A |  | 1x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
34 | IC-TE-2217A | TE-2217A | TT-22117A | TT-22117A | 1x3x0.5mm^2 | Special Cable-RTD cable 3x0.5mm^2 |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
35 | IC-TE-2218A | TE-2218A | TT-2218A | TT-2218A | 1x3x0.5mm^2 | Special Cable-RTD cable 3x0.5mm^2 |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
36 | IC-TE-2219A | TE-2219A | TT-2219A | TT-2219A | 1x3x0.5mm^2 | Special Cable-RTD cable 3x0.5mm^2 |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
37 | IC-TT-2191A | TT-2191A | JBU-A-2102A |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
38 | IC-TT-2194A | TT-2194A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar
39 | IC-PT-2201A | PT-2201A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
40 | IC-PT-2210A | PT-2210A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
41 | IC-PT-2211A | PT-2211A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
42 | IC-FT-2206A | FT-2206A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
43 | IC-PT-2200A | PT-2200A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
44 | IC-LT-2200A | LT-2200A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
45 | IC-TT-2203A | TT-2203A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
46 | IC-TT-2214A | TT-2214A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
47 | IC-TT-2215A | TT-2215A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
48 | IC-TT-2216A | TT-2216A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
49 | IC-TT-2217A | TT-2217A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
50 | IC-TT-2218A | TT-2218A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
51 | IC-TT-2219A | TT-2219A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
52 | MC-JBU-A-2102A | JBU-A-2102A | UCP-2101A |  | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | Hold | M50 | IS | Out of Havayar scope of work
53 | IC-PT-2204A | PT-2204A | JBU-A-2103A |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
54 | IC-TT-2204A | TT-2204A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
55 | IC-PDT-2204A | PDT-2204A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
56 | MC-JBU-A-2103A | JBU-A-2103A | UCP-2101A |  | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | Hold | M32 | IS | Out of Havayar scope of work
57 | IC-PT-2220A | PT-2220A | JBU-A-2104A |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
58 | IC-PT-2221A | PT-2221A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
59 | IC-LT-2213A | LT-2213A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
60 | IC-TT-2213A | TT-2213A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
61 | MC-JBU-A-2104A | JBU-A-2104A | UCP-2101A | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | Hold | M32 | IS | Out of Havayar scope of work
62 | IC-VT-2201A | VT-2201A | JBU-A-2105A |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
63 | IC-VT-2202A | VT-2202A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
64 | IC-XT-2201A | XT-2201A |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
65 | IC-ZT-2200A | ZT-2200A |  |  | Special cable | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
66 | IC-ZT-2201A | ZT-2201A |  |  | Special cable | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
67 | MC-JBU-A-2105A | JBU-A-2105A | UCP-2101A | 40-JB-DIA-351 | 12x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | Hold | M50 | IS | Out of Havayar scope of work
68 | ICJBU-A-2106A | JBU-A-2106A | UCP-2101A |  | 7x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M40 | NIS | Out of Havayar scope of work Winding RTD cable
69 | MC-LCP-2101A1 | LCP-2101A | UCP-2101A | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
70 | MC-LCP-2101A2 | LCP-2101A | UCP-2101A | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
71 | MC-LCP-2101A3 | LCP-2101A | UCP-2101A | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
72 | MC-LCP-2101A4 | LCP-2101A | UCP-2101A | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
73 | MC-LCP-2101A8 | LCP-2101A | UCP-2101A | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M32 | NIS | Out of Havayar scope of work
74 | MC-MCC-2101A1 | UCP-2101A | OIL HEATER MCC Running & Fault | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
75 |  |  | AUX OIL PUMP MCC Running & Fault | 40-JB-DIA-351
76 |  |  | LUBRICATOR HEATER MCC Running & Fault | 40-JB-DIA-351
77 |  |  | LUBRICATOR MOTOR MCC Running & Fault | 40-JB-DIA-351
78 |  |  | MAIN MOTOR MCC Running & Fault | 40-JB-DIA-351
79 |  |  | OIL COOLER MOTOR MCC Running & Fault | 40-JB-DIA-351
80 |  |  | MAIN WATER PUMP MOTOR MCC Running & Fault | 40-JB-DIA-351
81 |  |  | AUX WATER PUMP MOTOR MCC Running & Fault | 40-JB-DIA-352
82 | MC-MCC-2101A2 | UCP-2101A | WATER HEATER MCC Running & Fault | 40-JB-EIA-356 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
83 |  |  | WATER COOLER MCC Running & Fault | 40-JB-EIA-357
84 |  |  | BARRING MOTOR MCC Running & Fault | 40-JB-DIA-351
85 | MC-MCC-2101A3 | UCP-2101A | OIL HEATER MCC Start/Stop/ESD | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
86 |  |  | AUX OIL PUMP MCC Start/Stop/ESD | 40-JB-DIA-351
87 |  |  | LUBRICATOR HEATER MCC Start/Stop/ESD | 40-JB-DIA-351
88 |  |  | LUBRICATOR MOTOR MCC Start/Stop/ESD | 40-JB-DIA-351
89 |  |  | MAIN MOTOR MCC Start/Stop/ESD | 40-JB-DIA-351
90 |  | UCP-2101A | OIL COOLER MOTOR MCC Start/Stop/ESD | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
91 | MC-MCC-2101A4 |  | MAIN WATER PUMP MOTOR MCC Start/Stop/ESD | 40-JB-DIA-351
92 |  |  | AUX WATER PUMP MOTOR MCC Start/Stop/ESD | 40-JB-DIA-352
93 |  |  | WATER HEATER MCC Start/Stop/ESD | 40-JB-EIA-356
94 |  |  | WATER COOLER MCC Start/Stop/ESD | 40-JB-EIA-357
95 |  |  | BARRING MOTOR MCC Start/Stop/ESD | 40-JB-DIA-351
96 | MC-ESD-2101A | ESD | UCP-2101A | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,PVC,FLAME RETARDANT |  |  | Gray | Hold | M32 | NIS | Out of Havayar scope of work
97 | MC-DCS-2101A | DCS | UCP-2101A | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,PVC,FLAME RETARDANT |  |  | Gray | Hold | M32 | NIS | Out of Havayar scope of work
98 | IC-PT-2121A | DCS | UCP-2101A | 40-JB-DIA-351 | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M20 | NIS | Out of Havayar scope of work Spill Back
Note1:JBU-A-2101A is out of Havayar scope of work.

## CompB
نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض و ابنیه تحت الارض
خرید پکیج های کمپرسور گاز (رفت و برگشتی) بینک (قرارداد BK-HD-GCS-CO-0008_03)
شماره پیمان: |  | INSTRUMENT CABLE LIST
|  | پروژه | بسته کاری | صادرکننده | تسهیلات |  | رشته | نوع مدرک | سریال | نسخه | شماره صفحه:3 از 8
9184 – 073 - 053 |  | BK | GCS | HY | 120 |  | IN | LI | 0003 | V02
Item No. | Cable Tag No. | From | To |  | Cable size | Description |  |  | Color | Cable Length (m) | Gland | IS/NIS | Remark
1 | IC-SV-2201B | JBU-S-2101B | SV-2201B |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
2 | IC-SV-2202B |  | SV-2202B |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
3 | IC-SV-2203B |  | SV-2203B |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
5 | IC-PY-2123B |  | PY-2123B |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar Loose Item
6 | MC-JBU-S-2101B | UCP-2101B | JBU-S-2101B |  | 7x2x2.5mm^3 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M32 | NIS | Out of Havayar scope of work
7 | IC-CZSO-2123B | CZSO-2123B | JBU-D-2101B |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 20 | M20 | NIS | Supply by Havayar Loose Item
8 | IC-CZSC-2123B | CZSC-2123B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 20 | M20 | NIS | Supply by Havayar Loose Item
9 | MC-JBU-D-2101B | JBU-D-2101B | UCP-2101B |  | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M32 | NIS | Out of Havayar scope of work
10 | IC-TS-2191B | TS-2191B | JBU-D-2102B |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
11 | IC-TS-2194B | TS-2194B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
12 | IC-PS-2133B | PS-2133B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
13 | IC-PS-2204B | PS-2204B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
14 | IC-PS-2220B | PS-2220B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
15 | MC-JBU-D-2102B | JBU-D-2102B | UCP-2101B |  | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M32 | NIS | Out of Havayar scope of work
Note1
16 | IC-FT-2121B | FT-2121B | JBU-A-2101B |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
17 | IC-TT-2122B | TT-2122B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
18 | IC-PDT-2122B | PDT-2122B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
19 | IC-PT-2123B | PT-2123B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
20 | IC-TT-2123B | TT-2123B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
21 | IC-PT-2124B | PT-2124B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
22 | IC-FT-2131B | FT-2131B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
23 | IC-TT-2132B | TT-2132B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
24 | IC-PT-2132B | PT-2132B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
25 | IC-PDT-2132B | PDT-2132B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
26 | IC-TT-2133B | TT-2133B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
27 | IC-PT-2133B | PT-2133B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
28 | IC-PCVY-2123B | PCVY-2123B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
29 | IC-PCYZ-2123B | PCYZ-2123B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
30 | MC-JBU-A-2101B | JBU-A-2101B | UCP-2101B |  | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | Hold | M50 | IS | Out of Havayar scope of work
31 | IC-TE-2214B | TE-2214B | TT-2214B |  | 1x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
32 | IC-TE-2215B | TE-2215B | TT-2214B |  | 1x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
33 | IC-TE-2216B | TE-2216B | TT-2216B |  | 1x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
34 | IC-TE-2217B | TE-2217B | TT-22117B | TT-22117A | 1x3x0.5mm^2 | Special Cable-RTD cable 3x0.5mm^2 |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
35 | IC-TE-2218B | TE-2218B | TT-2218B | TT-2218A | 1x3x0.5mm^2 | Special Cable-RTD cable 3x0.5mm^2 |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
36 | IC-TE-2219B | TE-2219B | TT-2219B | TT-2219A | 1x3x0.5mm^2 | Special Cable-RTD cable 3x0.5mm^2 |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
37 | IC-TT-2191B | TT-2191B | JBU-A-2102B |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
38 | IC-TT-2194B | TT-2194B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar
39 | IC-PT-2201B | PT-2201B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
40 | IC-PT-2210B | PT-2210B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
41 | IC-PT-2211B | PT-2211B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
42 | IC-FT-2206B | FT-2206B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
43 | IC-PT-2200B | PT-2200B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
44 | IC-LT-2200B | LT-2200B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
45 | IC-TT-2203B | TT-2203B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
46 | IC-TT-2214B | TT-2214B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
47 | IC-TT-2215B | TT-2215B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
48 | IC-TT-2216B | TT-2216B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
49 | IC-TT-2217B | TT-2217B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
50 | IC-TT-2218B | TT-2218B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
51 | IC-TT-2219B | TT-2219B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
52 | MC-JBU-A-2102B | JBU-A-2102B | UCP-2101B |  | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | Hold | M50 | IS | Out of Havayar scope of work
53 | IC-PT-2204B | PT-2204B | JBU-A-2103B |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
54 | IC-TT-2204B | TT-2204B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
55 | IC-PDT-2204B | PDT-2204B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
56 | MC-JBU-A-2103B | JBU-A-2103B | UCP-2101B |  | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | Hold | M32 | IS | Out of Havayar scope of work
57 | IC-PT-2220B | PT-2220B | JBU-A-2104B |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
58 | IC-PT-2221B | PT-2221B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
59 | IC-LT-2213B | LT-2213B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
60 | IC-TT-2213B | TT-2213B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
61 | MC-JBU-A-2104B | JBU-A-2104B | UCP-2101B | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | Hold | M32 | IS | Out of Havayar scope of work
62 | IC-VT-2201B | VT-2201B | JBU-A-2105B |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
63 | IC-VT-2202B | VT-2202B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
64 | IC-XT-2201B | XT-2201B |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
65 | IC-ZT-2200B | ZT-2200B |  |  | Special cable | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
66 | IC-ZT-2201B | ZT-2201B |  |  | Special cable | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
67 | MC-JBU-A-2105B | JBU-A-2105B | UCP-2101B | 40-JB-DIA-351 | 12x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | Hold | M50 | IS | Out of Havayar scope of work
68 | ICJBU-A-2106B | JBU-A-2106B | UCP-2101B |  | 7x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M40 | NIS | Out of Havayar scope of work Winding RTD cable
69 | MC-LCP-2101B1 | LCP-2101B | UCP-2101B | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
70 | MC-LCP-2101B2 | LCP-2101B | UCP-2101B | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
71 | MC-LCP-2101B3 | LCP-2101B | UCP-2101B | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
72 | MC-LCP-2101B4 | LCP-2101B | UCP-2101B | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
73 | MC-LCP-2101B5 | LCP-2101B | UCP-2101B | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M32 | NIS | Out of Havayar scope of work
74 | MC-MCC-2101B1 | UCP-2101B | OIL HEATER MCC Running & Fault | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
75 |  |  | AUX OIL PUMP MCC Running & Fault | 40-JB-DIA-351
76 |  |  | LUBRICATOR HEATER MCC Running & Fault | 40-JB-DIA-351
77 |  |  | LUBRICATOR MOTOR MCC Running & Fault | 40-JB-DIA-351
78 |  |  | MAIN MOTOR MCC Running & Fault | 40-JB-DIA-351
79 |  |  | OIL COOLER MOTOR MCC Running & Fault | 40-JB-DIA-351
80 |  |  | MAIN WATER PUMP MOTOR MCC Running & Fault | 40-JB-DIA-351
81 |  |  | AUX WATER PUMP MOTOR MCC Running & Fault | 40-JB-DIA-352
82 | MC-MCC-2101B2 | UCP-2101B | WATER HEATER MCC Running & Fault | 40-JB-EIA-356 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
83 |  |  | WATER COOLER MCC Running & Fault | 40-JB-EIA-357
84 |  |  | BARRING MOTOR MCC Running & Fault | 40-JB-DIA-351
85 | MC-MCC-2101B3 | UCP-2101B | OIL HEATER MCC Start/Stop/ESD | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
86 |  |  | AUX OIL PUMP MCC Start/Stop/ESD | 40-JB-DIA-351
87 |  |  | LUBRICATOR HEATER MCC Start/Stop/ESD | 40-JB-DIA-351
88 |  |  | LUBRICATOR MOTOR MCC Start/Stop/ESD | 40-JB-DIA-351
89 |  |  | MAIN MOTOR MCC Start/Stop/ESD | 40-JB-DIA-351
90 |  | UCP-2101B | OIL COOLER MOTOR MCC Start/Stop/ESD | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
91 | MC-MCC-2101B4 |  | MAIN WATER PUMP MOTOR MCC Start/Stop/ESD | 40-JB-DIA-351
92 |  |  | AUX WATER PUMP MOTOR MCC Start/Stop/ESD | 40-JB-DIA-352
93 |  |  | WATER HEATER MCC Start/Stop/ESD | 40-JB-EIA-356
94 |  |  | WATER COOLER MCC Start/Stop/ESD | 40-JB-EIA-357
95 |  |  | BARRING MOTOR MCC Start/Stop/ESD | 40-JB-DIA-351
96 | MC-ESD-2101B | ESD | UCP-2101B | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,PVC,FLAME RETARDANT |  |  | Gray | Hold | M32 | NIS | Out of Havayar scope of work
97 | MC-DCS-2101B | DCS | UCP-2101B | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,PVC,FLAME RETARDANT |  |  | Gray | Hold | M32 | NIS | Out of Havayar scope of work
98 | IC-PT-2121B | DCS | UCP-2101B | 40-JB-DIA-351 | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M20 | NIS | Out of Havayar scope of work Spill Back
Note1:JBU-A-2101B is out of Havayar scope of work.

## CompC
نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض و ابنیه تحت الارض
خرید پکیج های کمپرسور گاز (رفت و برگشتی) بینک (قرارداد BK-HD-GCS-CO-0008_03)
شماره پیمان: |  | INSTRUMENT CABLE LIST
|  | پروژه | بسته کاری | صادرکننده | تسهیلات |  | رشته | نوع مدرک | سریال | نسخه | شماره صفحه:3 از 8
9184 – 073 - 053 |  | BK | GCS | HY | 120 |  | IN | LI | 0003 | V02
Item No. | Cable Tag No. | From | To |  | Cable size | Description |  |  | Color | Cable Length (m) | Gland | IS/NIS | Remark
1 | IC-SV-2201C | JBU-S-2101C | SV-2201C |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
2 | IC-SV-2202C |  | SV-2202C |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
3 | IC-SV-2203C |  | SV-2203C |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
5 | IC-PY-2123C |  | PY-2123C |  | 1x2x2.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar Loose Item
6 | MC-JBU-S-2101C | UCP-2101C | JBU-S-2101C |  | 7x2x2.5mm^3 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M32 | NIS | Out of Havayar scope of work
7 | IC-CZSO-2123C | CZSO-2123C | JBU-D-2101C |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 20 | M20 | NIS | Supply by Havayar Loose Item
8 | IC-CZSC-2123C | CZSC-2123C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 20 | M20 | NIS | Supply by Havayar Loose Item
9 | MC-JBU-D-2101C | JBU-D-2101C | UCP-2101C |  | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M32 | NIS | Out of Havayar scope of work
10 | IC-TS-2191C | TS-2191C | JBU-D-2102C |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
11 | IC-TS-2194C | TS-2194C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
12 | IC-PS-2133C | PS-2133C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
13 | IC-PS-2204C | PS-2204C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
14 | IC-PS-2220C | PS-2220C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | 10 | M20 | NIS | Supply by Havayar
15 | MC-JBU-D-2102C | JBU-D-2102C | UCP-2101C |  | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M32 | NIS | Out of Havayar scope of work
Note1
16 | IC-FT-2121C | FT-2121C | JBU-A-2101C |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
17 | IC-TT-2122C | TT-2122C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
18 | IC-PDT-2122C | PDT-2122C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
19 | IC-PT-2123C | PT-2123C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
20 | IC-TT-2123C | TT-2123C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
21 | IC-PT-2124C | PT-2124C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
22 | IC-FT-2131C | FT-2131C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
23 | IC-TT-2132C | TT-2132C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
24 | IC-PT-2132C | PT-2132C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
25 | IC-PDT-2132C | PDT-2132C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
26 | IC-TT-2133C | TT-2133C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
27 | IC-PT-2133C | PT-2133C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
28 | IC-PCVY-2123C | PCVY-2123C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
29 | IC-PCYZ-2123C | PCYZ-2123C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar Loose item
30 | MC-JBU-A-2101C | JBU-A-2101C | UCP-2101C |  | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | Hold | M50 | IS | Out of Havayar scope of work
31 | IC-TE-2214C | TE-2214C | TT-2214C |  | 1x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
32 | IC-TE-2215C | TE-2215C | TT-2214C |  | 1x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
33 | IC-TE-2216C | TE-2216C | TT-2216C |  | 1x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
34 | IC-TE-2217C | TE-2217C | TT-22117C | TT-22117A | 1x3x0.5mm^2 | Special Cable-RTD cable 3x0.5mm^2 |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
35 | IC-TE-2218C | TE-2218C | TT-2218C | TT-2218A | 1x3x0.5mm^2 | Special Cable-RTD cable 3x0.5mm^2 |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
36 | IC-TE-2219C | TE-2219C | TT-2219C | TT-2219A | 1x3x0.5mm^2 | Special Cable-RTD cable 3x0.5mm^2 |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
37 | IC-TT-2191C | TT-2191C | JBU-A-2102C |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
38 | IC-TT-2194C | TT-2194C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 20 | M20 | IS | Supply by Havayar
39 | IC-PT-2201C | PT-2201C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
40 | IC-PT-2210C | PT-2210C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
41 | IC-PT-2211C | PT-2211C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
42 | IC-FT-2206C | FT-2206C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
43 | IC-PT-2200C | PT-2200C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
44 | IC-LT-2200C | LT-2200C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
45 | IC-TT-2203C | TT-2203C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
46 | IC-TT-2214C | TT-2214C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
47 | IC-TT-2215C | TT-2215C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
48 | IC-TT-2216C | TT-2216C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
49 | IC-TT-2217C | TT-2217C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
50 | IC-TT-2218C | TT-2218C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
51 | IC-TT-2219C | TT-2219C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
52 | MC-JBU-A-2102C | JBU-A-2102C | UCP-2101C |  | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | Hold | M50 | IS | Out of Havayar scope of work
53 | IC-PT-2204C | PT-2204C | JBU-A-2103C |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
54 | IC-TT-2204C | TT-2204C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
55 | IC-PDT-2204C | PDT-2204C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
56 | MC-JBU-A-2103C | JBU-A-2103C | UCP-2101C |  | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | Hold | M32 | IS | Out of Havayar scope of work
57 | IC-PT-2220C | PT-2220C | JBU-A-2104C |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
58 | IC-PT-2221C | PT-2221C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
59 | IC-LT-2213C | LT-2213C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
60 | IC-TT-2213C | TT-2213C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
61 | MC-JBU-A-2104C | JBU-A-2104C | UCP-2101C | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | Hold | M32 | IS | Out of Havayar scope of work
62 | IC-VT-2201C | VT-2201C | JBU-A-2105C |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
63 | IC-VT-2202C | VT-2202C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
64 | IC-XT-2201C | XT-2201C |  |  | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | 10 | M20 | IS | Supply by Havayar
65 | IC-ZT-2200C | ZT-2200C |  |  | Special cable | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
66 | IC-ZT-2201C | ZT-2201C |  |  | Special cable | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | N/A | 10 | M20 | N/A | Supply by Havayar
67 | MC-JBU-A-2105C | JBU-A-2105C | UCP-2101C | 40-JB-DIA-351 | 12x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Blue | Hold | M50 | IS | Out of Havayar scope of work
68 | ICJBU-A-2106C | JBU-A-2106C | UCP-2101C |  | 7x3x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M40 | NIS | Out of Havayar scope of work Winding RTD cable
69 | MC-LCP-2101C1 | LCP-2101C | UCP-2101C | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
70 | MC-LCP-2101C2 | LCP-2101C | UCP-2101C | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
71 | MC-LCP-2101C3 | LCP-2101C | UCP-2101C | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
72 | MC-LCP-2101C4 | LCP-2101C | UCP-2101C | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
73 | MC-LCP-2101C5 | LCP-2101C | UCP-2101C | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M32 | NIS | Out of Havayar scope of work
74 | MC-MCC-2101C1 | UCP-2101C | OIL HEATER MCC Running & Fault | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
75 |  |  | AUX OIL PUMP MCC Running & Fault | 40-JB-DIA-351
76 |  |  | LUBRICATOR HEATER MCC Running & Fault | 40-JB-DIA-351
77 |  |  | LUBRICATOR MOTOR MCC Running & Fault | 40-JB-DIA-351
78 |  |  | MAIN MOTOR MCC Running & Fault | 40-JB-DIA-351
79 |  |  | OIL COOLER MOTOR MCC Running & Fault | 40-JB-DIA-351
80 |  |  | MAIN WATER PUMP MOTOR MCC Running & Fault | 40-JB-DIA-351
81 |  |  | AUX WATER PUMP MOTOR MCC Running & Fault | 40-JB-DIA-352
82 | MC-MCC-2101C2 | UCP-2101C | WATER HEATER MCC Running & Fault | 40-JB-EIA-356 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
83 |  |  | WATER COOLER MCC Running & Fault | 40-JB-EIA-357
84 |  |  | BARRING MOTOR MCC Running & Fault | 40-JB-DIA-351
85 | MC-MCC-2101C3 | UCP-2101C | OIL HEATER MCC Start/Stop/ESD | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
86 |  |  | AUX OIL PUMP MCC Start/Stop/ESD | 40-JB-DIA-351
87 |  |  | LUBRICATOR HEATER MCC Start/Stop/ESD | 40-JB-DIA-351
88 |  |  | LUBRICATOR MOTOR MCC Start/Stop/ESD | 40-JB-DIA-351
89 |  |  | MAIN MOTOR MCC Start/Stop/ESD | 40-JB-DIA-351
90 |  | UCP-2101C | OIL COOLER MOTOR MCC Start/Stop/ESD | 40-JB-DIA-351 | 19x2x1mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M50 | NIS | Out of Havayar scope of work
91 | MC-MCC-2101C4 |  | MAIN WATER PUMP MOTOR MCC Start/Stop/ESD | 40-JB-DIA-351
92 |  |  | AUX WATER PUMP MOTOR MCC Start/Stop/ESD | 40-JB-DIA-352
93 |  |  | WATER HEATER MCC Start/Stop/ESD | 40-JB-EIA-356
94 |  |  | WATER COOLER MCC Start/Stop/ESD | 40-JB-EIA-357
95 |  |  | BARRING MOTOR MCC Start/Stop/ESD | 40-JB-DIA-351
96 | MC-ESD-2101C | ESD | UCP-2101C | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,PVC,FLAME RETARDANT |  |  | Gray | Hold | M32 | NIS | Out of Havayar scope of work
97 | MC-DCS-2101C | DCS | UCP-2101C | 40-JB-DIA-351 | 7x2x1mm^2 | CU,PVC,OSC,PVC,FLAME RETARDANT |  |  | Gray | Hold | M32 | NIS | Out of Havayar scope of work
98 | IC-PT-2121C | DCS | UCP-2101C | 40-JB-DIA-351 | 1x2x1.5mm^2 | CU,PVC,OSC,SWA,PVC,FLAME RETARDANT |  |  | Gray | Hold | M20 | NIS | Out of Havayar scope of work Spill Back
Note1:JBU-A-2101C is out of Havayar scope of work.