## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-HY-120-PR-PH-0001 |  |  |  |  | Vendor Tr. N0: |  |  | Transmital Date:
Document Title: Control Philosophy |  |  |  |  | PEDCO Tr. No: BK-HD-PEDCO-SVIR-HY-0017 |  |  | Transmital Date: 2024/05/26
[5 empty] | CRS No: NISOC-CRS- BK-GCS-HY-120-PR-PH-0001-V00 |  |  | CRS Status: | CM
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 |  |  | 02/2294/236247 | 1402/06/14 | Required changes have been applied based on HAZOP and PID rev. 04.
2 |  |  | 02/2294/260044 | 1402/07/04 | Required changes have been applied based on HAZOP and PID rev. 04.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: P.Hajisadeghi Ah.Behbahani | Signature | H.Naserizadeh |  |  | Clarified By: | Signature
| Date: 11 Jul 2023 |  |  |  |  | Date: