## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No:BK-GCS-HY-120-EL-LI-0001
Document Title:ELECTRICAL/UPS CONSUMPTION LOAD LIST |  |  |  |  | PEDCO Tr. No.: BK-HD-PEDCO-SVTR-HY-0099 |  |  | Transmital Date:2024/12/28
[5 empty] | Tr. No.:NISOC-CRS-BK-GCS-HY-120-EL-LI-0001_V01 |  |  | CRS Status: | CM
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
Instrument comments :
1 |  |  | 03/2294/327091 | 1403/08/19 | احتراماً اعلام می‌دارد در اطلاعات دریافتی از دیتاشیت موتورها، ضرایب مختلف از قبیل API ، دمایی، ارتفاعی بر روی شفت پاور لحاظ شده است. پس مقادیر اعلام شده با توجه به شرایط محیطی پروژه می‌باشد و قابل اطمینان است.
2 |  |  | 03/2294/327091 | 1403/08/19 | ملاحظه گردید و شماره کابل‌هایی که دارای Tag No. هستند و از شرکت محترم هیرگان دریافت شده است به مدرک اضافه گردید. خواهشمندم Tag No. باقی کابل‌ها نیز توسط کارفرمای محترم مشخص گردد تا به مدرک اضافه گردد. برای ستون Starting Type (starting panel by client) اطلاعاتی از شماره پنل دردسترس نمی‌باشد؛ خواهشمندم توسط هیرگان ارائه گردد تا به مدرک اضافه شود.
3 |  |  | 03/2294/327091 | 1403/08/19 | مقادیری که مقدارشان نهایی نبوده در قالب note در رویژن صفر اعلام شده بود که Note: Data will be finalized by sub vendor.
Process comments :
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: | Signature
| Date: 1403.07.07 |  |  |  |  | Date: