## Cover
NISOC |  |  |  | نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض و ابنیه تحت الارض خرید بسته نم زدای گاز ایستگاه تقویت فشار گاز بینک (قرارداد BK-HD-GCS-CO-0010_08 )
INSTRUMENT LIST
| شماره پیمان: |  |  | پروژه |  | بسته کاری | صادرکننده | تسهیلات |  | رشته | نوع مدرک | سریال | نسخه |  | شماره صفحه: 1 از 14
| 9184 – 073 - 053 |  |  | BK |  | GCS | MF | 120 |  | IN | LI | 0001 | V00
طرح نگهداشت و افزایش تولید 27 مخزن
INSTRUMENT LIST نگهداشت و افزایش تولید میدان نفتی بینک
| V00 |  | Dec.2024 |  | IFI |  |  |  | MFS |  |  | M.Fakharian |  | S.Faramarzpour
| Rev. |  | Date |  | Purpose of Issue / Status |  |  |  | Prepared by: |  |  | Checked by: |  | Approved by: |  | CLIENT Approval
[5 empty] | CLIENT Doc. Number: |  |  |  | -
status:
IFA: Issued For Approval
IFI: Issued For Information
AFC: Approved For Construction

## REVISION
NISOC |  |  |  | نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض و ابنیه تحت الارض خرید بسته نم زدای گاز ایستگاه تقویت فشار گاز بینک (قرارداد BK-HD-GCS-CO-0010_08 )
INSTRUMENT LIST
| شماره پیمان: |  |  | پروژه | بسته کاری |  | صادرکننده | تسهیلات | رشته | نوع مدرک | سریال |  | نسخه |  | شماره صفحه: 2 از 14
| 9184 – 073 - 053 |  |  | BK | GCS |  | MF | 120 | IN | LI | 0001 |  | V00
REVISION RECORD SHEET
Page |  | V00 | V01 | V02 |  | V03 |  | V04 |  | Page |  | V00 |  | V01 |  | V02 | V03 | V04
1 |  | X | [7 empty] | 61
2 |  | X | [7 empty] | 62
3 |  | X | [7 empty] | 63
4 |  | X | [7 empty] | 64
5 |  | X | [7 empty] | 65
6 |  | X | [7 empty] | 66
7 |  | X | [7 empty] | 67
8 |  | X | [7 empty] | 68
9 |  | X | [7 empty] | 69
10 |  | X | [7 empty] | 70
11 |  | X | [7 empty] | 71
12 |  | X | [7 empty] | 72
13 | [9 empty] | 73
14 | [9 empty] | 74
15 | [9 empty] | 75
16 | [9 empty] | 76
17 | [9 empty] | 77
18 | [9 empty] | 78
19 | [9 empty] | 79
20 | [9 empty] | 80
21 | [9 empty] | 81
22 | [9 empty] | 82
23 | [9 empty] | 83
24 | [9 empty] | 84
25 | [9 empty] | 85
26 | [9 empty] | 86
27 | [9 empty] | 87
28 | [9 empty] | 88
29 | [9 empty] | 89
30 | [9 empty] | 90
31 | [9 empty] | 91
32 | [9 empty] | 92
33 | [9 empty] | 93
34 | [9 empty] | 94
35 | [9 empty] | 95
36 | [9 empty] | 96
37 | [9 empty] | 97
38 | [9 empty] | 98
39 | [9 empty] | 99
40 | [9 empty] | 100
41 | [9 empty] | 101
42 | [9 empty] | 102
43 | [9 empty] | 103
44 | [9 empty] | 104
45 | [9 empty] | 105
46 | [9 empty] | 106
47 | [9 empty] | 107
48 | [9 empty] | 108
49 | [9 empty] | 109
50 | [9 empty] | 110
51 | [9 empty] | 111
52 | [9 empty] | 112
53 | [9 empty] | 113
54 | [9 empty] | 114
55 | [9 empty] | 115
56 | [9 empty] | 116
57 | [9 empty] | 117
58 | [9 empty] | 118
59 | [9 empty] | 119
60 | [9 empty] | 120

## LIST
NISOC |  |  | نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض و ابنیه تحت الارض خرید بسته نم زدای گاز ایستگاه تقویت فشار گاز بینک (قرارداد BK-HD-GCS-CO-0010_08 )
INSTRUMENT LIST
شماره پیمان: |  |  | پروژه | بسته کاری | صادرکننده |  | تسهیلات |  | رشته |  | نوع مدرک |  | سریال | نسخه |  | شماره صفحه: 3 از 14
9184 – 073 - 053 |  |  | BK | GCS | MF |  | 120 |  | IN |  | LI |  | 0001 | V00
ITEM NO. | Tag Number | Description | P&ID NO. |  |  | LINE / EQUIPMENT NO. |  | LOCATION |  | SIGNAL LOCATION | IS/NIS | SIGNAL TYPE | EX PROTECTION TYPE |  | CALIBRATION RANGE |  | ENG. UNIT | DATASHEET NO. | HOOK UP DRAWING | WIRING DRAWING | MANUFACTURER | MODEL NUMBER | Rev.
1 | D-TIT-2101 | Temperature Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | GAS-111-0001-FN05-6"-PT |  | FIELD |  | UCP | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0005 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
2 | D-TW-2101 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | GAS-111-0001-FN05-6"-PT |  | FIELD |  | - |  | - | - |  | - |  | - | BK-GCS-MF-120-IN-DS-0005 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
3 | D-TIT-2102 | Temperature Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | TEG-111-0001-FN04-1"-HI |  | FIELD |  | BMS/ESD | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0005 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
4 | D-TW-2102 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | TEG-111-0001-FN04-1"-HI |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | - | BK-GCS-MF-120-IN-DS-0005 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
5 | D-TIT-2103 | Temperature Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | GAS-111-01791-FN05-6"-PT |  | FIELD |  | UCP | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0005 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
6 | D-TW-2103 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | GAS-111-01791-FN05-6"-PT |  | FIELD |  | - |  | - | - |  | - |  | - | BK-GCS-MF-120-IN-DS-0005 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
7 | D-TIT-2104 | Temperature Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | C-100 |  | FIELD |  | UCP | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0005 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
8 | D-TW-2104 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | C-100 |  | FIELD |  | - |  | - | - |  | - |  | - | BK-GCS-MF-120-IN-DS-0005 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
9 | D-TG-2110 | TEMPERATURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | GAS-111-0002-FN05-6"-PT |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
10 | D-TW-2110 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | GAS-111-0002-FN05-6"-PT |  | FIELD |  | - |  | - | - |  | - |  | - | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
11 | D-FIT-2101 | Flow Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | TEG-111-0001-FN04-1"-HI |  | FIELD |  | UCP | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | Kg/h |  | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
12 | D-FIT-2102 | Flow Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | GAS-111-0001-FN05-6"-PT |  | FIELD |  | UCP | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | Kg/h |  | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
13 | D-LIT-2101 | Level Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | C-100 |  | FIELD |  | UCP | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0011 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
14 | D-LIT-2102 | Level Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | C-100 |  | FIELD |  | ESD/BMS | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0011 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
15 | D-LIT-2103 | Level Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | C-100 |  | FIELD |  | ESD/BMS | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0011 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
16 | D-LIT-2104 | Level Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | C-100 |  | FIELD |  | UCP | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0011 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
17 | D-LIT-2105 | Level Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | C-100 |  | FIELD |  | ESD/BMS | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0011 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
18 | D-LIT-2106 | Level Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | C-100 |  | FIELD |  | ESD/BMS | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0011 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
19 | D-PDIT-2101 | Differential Pressure Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | C-100 |  | FIELD |  | UCP | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0007 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
20 | D-PDIT-2102 | Differential Pressure Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | C-100 |  | FIELD |  | UCP | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0007 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
21 | D-FCV-2101 | FLOW CONTROL VALVE | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | TEG-111-0002-FN04-1"-HI |  | FIELD |  | UCP | IS | AOR | EX i |  | - |  | - | BK-GCS-MF-120-IN-DS-0001 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
22 | D-PCV-2101A | PRESSURE CONTROL VALVE | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | GAS-111-0005-AN07-1"-PP |  | FIELD |  | UCP | IS | AOR | EX i |  | - |  | - | BK-GCS-MF-120-IN-DS-0001 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
23 | D-PCV-2101B | PRESSURE CONTROL VALVE | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | GAS-111-0005-AN07-1"-PP |  | FIELD |  | UCP | IS | AOR | EX i |  | - |  | - | BK-GCS-MF-120-IN-DS-0001 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
24 | D-LCV-2101 | LEVEL CONTROL VALVE | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | TEG-111-0002-FN07-1"-PT |  | FIELD |  | UCP | IS | AOR | EX i |  | - |  | - | BK-GCS-MF-120-IN-DS-0001 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
25 | D-LCV-2102 | LEVEL CONTROL VALVE | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | HCB-111-0003-FN07-1"-PT |  | FIELD |  | UCP | IS | AOR | EX i |  | - |  | - | BK-GCS-MF-120-IN-DS-0001 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
26 | D-ESDV-2101 | ON/OFF VALVE | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | TEG-111-0001-FN07-1"-HI |  | FIELD |  | ESD/BMS | IS | DIR/DOR | EX d |  | - |  | - | BK-GCS-MF-120-IN-DS-0002 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
27 | D-ESDV-2102 | ON/OFF VALVE | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | HCB-111-0003-FN07-1"-PT |  | FIELD |  | ESD/BMS | IS | DIR/DOR | EX d |  | - |  | - | BK-GCS-MF-120-IN-DS-0002 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
28 | D-AIT-2101 | H2O ANALYSER | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | GAS-111-01791-FN05-6"-PT |  | FIELD |  | UCP | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | % | BK-GCS-MF-120-IN-DS-0003 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
29 | D-PSV-2101 | PRESSURE SAFETY VALVE | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | GAS-111-0001-FN07-2"-PT |  | FIELD |  | - |  | - | - |  | 62 |  | Barg | BK-GCS-MF-120-IN-DS-0013 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
30 | D-PSV-2102 | PRESSURE SAFETY VALVE | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | GAS-111-0001-FN07-2"-PT |  | FIELD |  | - |  | - | - |  | 62 |  | Barg | BK-GCS-MF-120-IN-DS-0013 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
31 | D-PG-2101 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | GAS-111-0002-FN05-6"-PT |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
32 | D-TW-2111 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | GAS-111-01791-FN05-6"-PT |  | FIELD |  | - |  | - | - |  | - |  | - | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
33 | D-TG-2111 | TEMPERATURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | GAS-111-01791-FN05-6"-PT |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
34 | D-PG-2102 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | GAS-111-01791-FN05-6"-PT |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
35 | D-PG-2103 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | C-100 |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
36 | D-PG-2105 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | TEG-111-0001-FN04-1"-HI |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
37 | D-TW-2112 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | TEG-111-0003-FN04-1"-HI |  | FIELD |  | - |  | - | - |  | - |  | - | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
38 | D-TG-2112 | TEMPERATURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | TEG-111-0003-FN04-1"-HI |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
39 | D-LG-2101 | LEVEL GAUGE | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | C-100 |  | FIELD |  | - |  | - | - |  | 150-1050 |  | mm | BK-GCS-MF-120-IN-DS-0010 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
40 | D-LG-2102 | LEVEL GAUGE | BK-GCS-MF-120-PR-PI-0003 (Page1/7) |  |  | C-100 |  | FIELD |  | - |  | - | - |  | 150-650 |  | mm | BK-GCS-MF-120-IN-DS-0010 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
41 | D-TIT-2105 | Temperature Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page2/7) |  |  | V-120 |  | FIELD |  | UCP | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0005 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
42 | D-TW-2105 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page2/7) |  |  | V-120 |  | FIELD |  | - |  | - | - |  | - |  | - | BK-GCS-MF-120-IN-DS-0005 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
43 | D-LIT-2107 | Level Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page2/7) |  |  | V-120 |  | FIELD |  | UCP | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0011 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
44 | D-LIT-2108 | Level Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page2/7) |  |  | V-120 |  | FIELD |  | ESD/BMS | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0011 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
45 | D-LIT-2109 | Level Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page2/7) |  |  | V-120 |  | FIELD |  | ESD/BMS | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0011 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
46 | D-LIT-2110 | Level Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page2/7) |  |  | V-120 |  | FIELD |  | UCP | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0011 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
47 | D-LCV-2103 | LEVEL CONTROL VALVE | BK-GCS-MF-120-PR-PI-0003 (Page2/7) |  |  | HCB-111-0001-FN07-1"-PT |  | FIELD |  | UCP | IS | AOR | EX i |  | - |  | - | BK-GCS-MF-120-IN-DS-0001 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
48 | D-PIT-2101 | PRESSURE TRANSMITTER | BK-GCS-MF-120-PR-PI-0003 (Page2/7) |  |  | V-120 |  | FIELD |  | UCP | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0007 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
49 | D-TW-2113 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page2/7) |  |  | TEG-111-0007-AN07-1"-HI |  | FIELD |  | - |  | - | - |  | - |  | - | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
50 | D-TG-2113 | TEMPERATURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page2/7) |  |  | TEG-111-0007-AN07-1"-HI |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
51 | D-PG-2106 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page2/7) |  |  | TEG-111-0007-AN07-1"-HI |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
52 | D-PSV-2103 | PRESSURE SAFETY VALVE | BK-GCS-MF-120-PR-PI-0003 (Page2/7) |  |  | GAS-111-0002-AN07-2"-PP |  | FIELD |  | - |  | - | - |  | 8 |  | Barg | BK-GCS-MF-120-IN-DS-0013 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
53 | D-PSV-2104 | PRESSURE SAFETY VALVE | BK-GCS-MF-120-PR-PI-0003 (Page2/7) |  |  | GAS-111-0002-AN07-2"-PP |  | FIELD |  | - |  | - | - |  | 8 |  | Barg | BK-GCS-MF-120-IN-DS-0013 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
54 | D-LG-2103 | LEVEL GAUGE | BK-GCS-MF-120-PR-PI-0003 (Page2/7) |  |  | V-120 |  | FIELD |  | - |  | - | - |  | 200-400 |  | mm | BK-GCS-MF-120-IN-DS-0010 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
55 | D-LG-2104 | LEVEL GAUGE | BK-GCS-MF-120-PR-PI-0003 (Page2/7) |  |  | V-120 |  | FIELD |  | - |  | - | - |  | 220-550 |  | mm | BK-GCS-MF-120-IN-DS-0010 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
56 | D-PSV-2105 | PRESSURE SAFETY VALVE | BK-GCS-MF-120-PR-PI-0003 (Page3/7) |  |  | TEG-111-0011-AN07-1"-HI |  | FIELD |  | - |  | - | - |  | 8 |  | Barg | BK-GCS-MF-120-IN-DS-0013 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
57 | D-PSV-2106 | PRESSURE SAFETY VALVE | BK-GCS-MF-120-PR-PI-0003 (Page3/7) |  |  | TEG-111-0012-AN07-1"-HI |  | FIELD |  | - |  | - | - |  | 8 |  | Barg | BK-GCS-MF-120-IN-DS-0013 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
58 | D-PSV-2107 | PRESSURE SAFETY VALVE | BK-GCS-MF-120-PR-PI-0003 (Page3/7) |  |  | TEG-111-0019-AN07-1"-HI |  | FIELD |  | - |  | - | - |  | 7.5 |  | Barg | BK-GCS-MF-120-IN-DS-0013 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
59 | D-PSV-2108 | PRESSURE SAFETY VALVE | BK-GCS-MF-120-PR-PI-0003 (Page3/7) |  |  | TEG-111-0018-AN07-1"-HI |  | FIELD |  | - |  | - | - |  | 7.5 |  | Barg | BK-GCS-MF-120-IN-DS-0013 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
60 | D-PDG-2101 | DIFFERENTIAL PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page3/7) |  |  | F-100-A |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
61 | D-PDG-2102 | DIFFERENTIAL PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page3/7) |  |  | F-100-B |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
62 | D-PDG-2103 | DIFFERENTIAL PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page3/7) |  |  | F-200-A |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
63 | D-PDG-2104 | DIFFERENTIAL PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page3/7) |  |  | F-200-B |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
64 | D-FI-2101 | FLOW METER (ROTAMETER) | BK-GCS-MF-120-PR-PI-0003 (Page3/7) |  |  | TEG-111-0013-AN07-1"-HI |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Kg/h |  | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
65 | D-TIT-2106 | Temperature Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | R-100 |  | FIELD |  | BMS/ESD | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0005 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
66 | D-TW-2106 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | R-100 |  | FIELD |  | - |  | - | - |  | - |  | - | BK-GCS-MF-120-IN-DS-0005 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
67 | D-TIT-2107 | Temperature Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | GAS-111-0001-AS00-2"-HI |  | FIELD |  | BMS/ESD | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0005 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
68 | D-TW-2107 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | E-100 |  | FIELD |  | - |  | - | - |  | - |  | - | BK-GCS-MF-120-IN-DS-0005 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
69 | D-TW-2108 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | R-100 |  | FIELD |  | - |  | - | - |  | - |  | - | BK-GCS-MF-120-IN-DS-0005 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
70 | D-TIT-2108 | Temperature Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | R-100 |  | FIELD |  | BMS/ESD | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0005 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
71 | D-TW-2109 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | R-100 |  | FIELD |  | - |  | - | - |  | - |  | - | BK-GCS-MF-120-IN-DS-0005 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
72 | D-TIT-2109 | Temperature Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | R-100 |  | FIELD |  | UCP | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0005 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
73 | D-FIT-2103 | Flow Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | FLG-111-0028-AN04-1"-PT |  | FIELD |  | UCP | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | Kg/h |  | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
74 | D-XL-2101 | READY TO START | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | BURNER OPERATION LOCAL CONTROL PANEL |  | FIELD |  | BMS/ESD |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
75 | D-XL-2102 | PURGING | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | BURNER OPERATION LOCAL CONTROL PANEL |  | FIELD |  | BMS/ESD |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
76 | D-XL-2103 | PILOT ON | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | BURNER OPERATION LOCAL CONTROL PANEL |  | FIELD |  | BMS/ESD |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
77 | D-XL-2104 | MAIN BURNER ON | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | BURNER OPERATION LOCAL CONTROL PANEL |  | FIELD |  | BMS/ESD |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
78 | D-XA-2105 | MAIN BURNER SHUTDOWN | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | BURNER OPERATION LOCAL CONTROL PANEL |  | FIELD |  | BMS/ESD |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
79 | D-XA-2106 | REBOILER GENERAL SHUTDOWN | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | BURNER OPERATION LOCAL CONTROL PANEL |  | FIELD |  | BMS/ESD |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
80 | D-LIT-2111 | Level Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | R-100 |  | FIELD |  | ESD/BMS | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0011 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
81 | D-LIT-2112 | Level Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | R-100 |  | FIELD |  | ESD/BMS | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0011 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
82 | D-LIT-2113 | Level Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | V-130 |  | FIELD |  | ESD/BMS | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0011 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
83 | D-LIT-2114 | Level Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | V-130 |  | FIELD |  | UCP | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0011 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
84 | D-LIT-2115 | Level Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | V-130 |  | FIELD |  | ESD/BMS | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0011 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
85 | D-LIT-2116 | Level Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | V-130 |  | FIELD |  | ESD/BMS | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0011 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
86 | D-PIT-2102 | PRESSURE TRANSMITTER | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | R-100 |  | FIELD |  | ESD/BMS | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0007 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
87 | D-PIT-2103 | PRESSURE TRANSMITTER | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | FLG-111-0024-AN07-1"-PT |  | FIELD |  | ESD/BMS | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0007 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
88 | D-PIT-2104 | PRESSURE TRANSMITTER | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | FLG-111-0027-AN07-1/2"-PT |  | FIELD |  | ESD/BMS | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0007 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
89 | D-PDIT-2103 | Differential Pressure Transmitter | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | R-100 |  | FIELD |  | ESD/BMS | IS | AIR | EX i |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0007 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
90 | D-TCV-2101 | TEMPERATURE CONTROL VALVE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | FLG-111-0024-AN07-1"-PT |  | FIELD |  | UCP | IS | AOR | EX i |  | - |  | - | BK-GCS-MF-120-IN-DS-0001 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
91 | D-LCV-2104 | LEVEL CONTROL VALVE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | TEG-111-0027-AN07-1"-HI |  | FIELD |  | UCP | IS | AOR | EX i |  | - |  | - | BK-GCS-MF-120-IN-DS-0001 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
92 | D-ESDV-2103 | ON/OFF VALVE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | TEG-111-0027-AN07-1"-HI |  | FIELD |  | ESD/BMS | IS | DIR/DOR | EX d |  | - |  | - | BK-GCS-MF-120-IN-DS-0002 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
93 | D-ESDV-2104A | ON/OFF VALVE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | FLG-111-0024-AN07-1"-PT |  | FIELD |  | ESD/BMS | IS | DIR/DOR | EX d |  | - |  | - | BK-GCS-MF-120-IN-DS-0002 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
94 | D-ESDV-2104B | ON/OFF VALVE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | FLG-111-0024-AN07-1"-PT |  | FIELD |  | ESD/BMS | IS | DIR/DOR | EX d |  | - |  | - | BK-GCS-MF-120-IN-DS-0002 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
95 | D-ESDV-2104C | ON/OFF VALVE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | FLG-111-0024-AN07-1"-PT |  | FIELD |  | ESD/BMS | IS | DIR/DOR | EX d |  | - |  | - | BK-GCS-MF-120-IN-DS-0002 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
96 | D-ESDV-2105A | ON/OFF VALVE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | FLG-111-0024-AN07-1"-PT |  | FIELD |  | ESD/BMS | IS | DIR/DOR | EX d |  | - |  | - | BK-GCS-MF-120-IN-DS-0002 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
97 | D-ESDV-2105B | ON/OFF VALVE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | FLG-111-0024-AN07-1"-PT |  | FIELD |  | ESD/BMS | IS | DIR/DOR | EX d |  | - |  | - | BK-GCS-MF-120-IN-DS-0002 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
98 | D-ESDV-2105C | ON/OFF VALVE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | FLG-111-0024-AN07-1"-PT |  | FIELD |  | ESD/BMS | IS | DIR/DOR | EX d |  | - |  | - | BK-GCS-MF-120-IN-DS-0002 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
99 | D-HST-2101 | REBOLIER GENERAL SHUTDOWN | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | BLP-2101 |  | FIELD |  | BMS/ESD |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-IN-DW-0004 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
100 | D-HS-2102 | RESET | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | BLP-2102 |  | FIELD |  | BMS/ESD |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-IN-DW-0004 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
101 | D-HS-2103 | PILOT START | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | BLP-2103 |  | FIELD |  | BMS/ESD |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-IN-DW-0004 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
102 | D-HS-2104 | MAIN BURNER START | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | BLP-2104 |  | FIELD |  | BMS/ESD |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-IN-DW-0004 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
103 | D-HS-2105 | REBOLIER STOP | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | BLP-2105 |  | FIELD |  | BMS/ESD |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-IN-DW-0004 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
104 | D-HS-2106 | LAMP TEST | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | BLP-2106 |  | FIELD |  | BMS/ESD |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-IN-DW-0004 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
105 | D-HS-2107 | ALARM ACKNOWLEDGE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | BLP-2107 |  | FIELD |  | BMS/ESD |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-IN-DW-0004 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
106 | D-HS-2108 | ALARM RESET | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | BLP-2108 |  | FIELD |  | BMS/ESD |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-IN-DW-0004 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
107 | D-BS-2101 | PILOT FLAME DETECTOR | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | R-100 |  | FIELD |  | ESD/BMS |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0004 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
108 | D-BS-2102 | PILOT FLAME DETECTOR | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | R-100 |  | FIELD |  | ESD/BMS |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0004 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
109 | D-IGN-2101 | IGNITION ROD | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | R-100 |  | FIELD |  | FIELD |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0004 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
110 | D-HST-2101 | M-K-100 START COMMAND | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | MCC |  | FIELD |  | IRP |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
111 | D-HSP-2101 | M-K-100 STOP COMMAND | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | MCC |  | FIELD |  | IRP |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
112 | D-YL-2101 | M-K-100 RUNNING/STOP STATUS | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | MCC |  | FIELD |  | ESD/BMS |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
113 | D-YXL-2101 | M-K-100 LOCAL/REMOTE STATUS | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | MCC |  | FIELD |  | ESD/BMS |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
114 | D-YA-2101 | M-K-100 FAULT STATUS | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | MCC |  | FIELD |  | ESD/BMS |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
115 | D-YLP-2101 | M-K-100 PERMITTED START STATUS | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | MCC |  | FIELD |  | ESD/BMS |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
116 | D-PSV-2109 | PRESSURE SAFETY VALVE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | GAS-111-0004-AN05-6"-HI |  | FIELD |  | - |  | - | - |  | 4.1 |  | Barg | BK-GCS-MF-120-IN-DS-0013 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
117 | D-PSV-2110 | PRESSURE SAFETY VALVE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | GAS-111-0004-AN05-6"-HI |  | FIELD |  | - |  | - | - |  | 4.14 |  | Barg | BK-GCS-MF-120-IN-DS-0013 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
118 | D-PG-2107 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | TEG-111-0001-AN07-1"-HI |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
119 | D-TW-2115 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | TEG-111-0007-AN07-1"-HI |  | FIELD |  | - |  | - | - |  | - |  | - | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
120 | D-TG-2115 | TEMPERATURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | TEG-111-0007-AN07-1"-HI |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
121 | D-LG-2107 | LEVEL GAUGE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | V-130 |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0010 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
122 | D-LG-2106 | LEVEL GAUGE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | V-130 |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0010 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
123 | D-TW-2114 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | R-100 |  | FIELD |  | - |  | - | - |  | - |  | - | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
124 | D-TG-2114 | TEMPERATURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | R-100 |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
125 | D-PG-2108 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | R-100 |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
126 | D-LG-2105 | LEVEL GAUGE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | R-100 |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0010 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
127 | D-PG-2109 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | FLG-111-0024-AN07-1"-PT |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
128 | D-PG-2110 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | FLG-111-0024-AN07-1"-PT |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
129 | D-PCV-2101 | PRESSURE REGULATOR VALVE | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | FLG-111-0026-AN07-1/2"-PT |  | FIELD |  | - |  | - | - |  | 0.5 |  | Barg | BK-GCS-MF-120-IN-DS-0008 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
130 | D-UV-2101 | UV FLAME SCANNER | BK-GCS-MF-120-PR-PI-0003 (Page4/7) |  |  | R-100 |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | % | BK-GCS-MF-120-IN-DS-0012 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
131 | D-PG-2111 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | TEG-111-0004-AN04-2"-PT |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
132 | D-TW-2116 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | TEG-111-0004-AN04-2"-PT |  | FIELD |  | - |  | - | - |  | - |  | - | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
133 | D-TG-2116 | TEMPERATURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | TEG-111-0004-AN04-2"-PT |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
134 | D-TW-2117 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | TEG-111-0027-AN07-1"-HI |  | FIELD |  | - |  | - | - |  | - |  | - | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
135 | D-TG-2117 | TEMPERATURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | TEG-111-0027-AN07-1"-HI |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
136 | D-PG-2112 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | TEG-111-0027-AN07-1"-HI |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
137 | D-TW-2118 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | TEG-111-0021-AN07-1"-HI |  | FIELD |  | - |  | - | - |  | - |  | - | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
138 | D-TG-2118 | TEMPERATURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | TEG-111-0021-AN07-1"-HI |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
139 | D-PG-2113 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | TEG-111-0027-AN07-1"-HI |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
140 | D-PG-2114 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | TEG-111-0006-AN04-2"-HI |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
141 | D-PG-2115 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | TEG-111-0004-FN04-1"-HI |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
142 | D-PG-2116 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | TEG-111-0006-AN04-2"-HI |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
143 | D-PG-2117 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | TEG-111-0005-FN04-1"-HI |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
144 | D-TW-2119 | THERMOWELL | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | TEG-111-0006-AN04-2"-HI |  | FIELD |  | - |  | - | - |  | - |  | - | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
145 | D-TG-2119 | TEMPERATURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | TEG-111-0006-AN04-2"-HI |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | ̊C | BK-GCS-MF-120-IN-DS-0004 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
146 | D-PSV-2111 | PRESSURE SAFETY VALVE | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | TEG-111-0003-AN04-1"-HI |  | FIELD |  | - |  | - | - |  | 6.6 |  | Barg | BK-GCS-MF-120-IN-DS-0013 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
147 | D-PSV-2112 | PRESSURE SAFETY VALVE | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | TEG-111-0004-AN04-1"-HI |  | FIELD |  | - |  | - | - |  | 62 |  | Barg | BK-GCS-MF-120-IN-DS-0013 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
148 | D-PSV-2113 | PRESSURE SAFETY VALVE | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | TEG-111-0005-AN04-1"-HI |  | FIELD |  | - |  | - | - |  | 62 |  | Barg | BK-GCS-MF-120-IN-DS-0013 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
149 | D-ESDV-2106 | ON/OFF VALVE | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | FLG-111-0027-AN07-2"-PT |  | FIELD |  | ESD/BMS | IS | DIR/DOR | EX d |  | - |  | - | BK-GCS-MF-120-IN-DS-0002 | BK-GCS-MF-120-IN-DW-0005 | BK-GCS-MF-120-IN-DW-0003 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
150 | D-HST-2101A | M-100-A START COMMAND | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | MCC |  | FIELD |  | IRP |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
151 | D-HSP-2101A | M-100-A STOP COMMAND | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | MCC |  | FIELD |  | IRP |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
152 | D-YL-2101A | M-100-A RUNNING/STOP STATUS | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
153 | D-YXL-2101A | M-100-A LOCAL/REMOTE STATUS | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
154 | D-YA-2101A | M-100-A FAULT STATUS | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
155 | D-YLP-2101A | M-100-A PERMITTED START STATUS | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
156 | D-HST-2101B | M-100-B START COMMAND | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | MCC |  | FIELD |  | IRP |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
157 | D-HSP-2101B | M-100-B STOP COMMAND | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | MCC |  | FIELD |  | IRP |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
158 | D-YL-2101B | M-100-B RUNNING/STOP STATUS | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
159 | D-YXL-2101B | M-100-B LOCAL/REMOTE STATUS | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
160 | D-YA-2101B | M-100-B FAULT STATUS | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
161 | D-YLP-2101B | M-100-B PERMITTED START STATUS | BK-GCS-MF-120-PR-PI-0003 (Page5/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
162 | D-HST-2102A | M-200-A START COMMAND | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | MCC |  | FIELD |  | IRP |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
163 | D-HSP-2102A | M-200-A STOP COMMAND | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | MCC |  | FIELD |  | IRP |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
164 | D-YL-2102A | M-200-A RUNNING/STOP STATUS | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
165 | D-YXL-2102A | M-200-A LOCAL/REMOTE STATUS | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
166 | D-YA-2102A | M-200-A FAULT STATUS | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
167 | D-YLP-2102A | M-200-A PERMITTED START STATUS | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
168 | D-HST-2102B | M-200-B START COMMAND | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | MCC |  | FIELD |  | IRP |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
169 | D-HSP-2102B | M-200-B STOP COMMAND | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | MCC |  | FIELD |  | IRP |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
170 | D-YL-2102B | M-200-B RUNNING/STOP STATUS | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
171 | D-YXL-2102B | M-200-B LOCAL/REMOTE STATUS | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
172 | D-YA-2102B | M-200-B FAULT STATUS | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
173 | D-YLP-2102B | M-200-B PERMITTED START STATUS | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
174 | D-HST-2102C | MX-100 START COMMAND | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | MCC |  | FIELD |  | IRP |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
175 | D-HSP-2102C | MX-100 STOP COMMAND | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | MCC |  | FIELD |  | IRP |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
176 | D-YL-2102C | MX-100 RUNNING/STOP STATUS | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
177 | D-YXL-2102C | MX-100 LOCAL/REMOTE STATUS | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
178 | D-YA-2102C | MX-100 FAULT STATUS | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
179 | D-YLP-2102C | MX-100 PERMITTED START STATUS | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
180 | D-PSV-2114 | PRESSURE SAFETY VALVE | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | CHM-111-0005-AS00-1"-HI |  | FIELD |  | - |  | - | - |  | 4.5 |  | Barg | BK-GCS-MF-120-IN-DS-0013 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
181 | D-PSV-2115 | PRESSURE SAFETY VALVE | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | CHM-111-0005-AS00-1"-HI |  | FIELD |  | - |  | - | - |  | 4.5 |  | Barg | BK-GCS-MF-120-IN-DS-0013 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
182 | D-PG-2118 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  |  |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
183 | D-PG-2119 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  |  |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
184 | D-LG-2108 | LEVEL GAUGE | BK-GCS-MF-120-PR-PI-0003 (Page6/7) |  |  | TK-100 |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0010 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
185 | D-PG-2120 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  |  |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
186 | D-PG-2121 | PRESSURE GUAGE | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  |  |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | Barg | BK-GCS-MF-120-IN-DS-0006 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
187 | D-LG-2109 | LEVEL GAUGE | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | TK-200 |  | FIELD |  | - |  | - | - |  | WILL BE FINALIZED LATER |  | mm | BK-GCS-MF-120-IN-DS-0010 | BK-GCS-MF-120-IN-DW-0005 | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
188 | D-PSV-2116 | PRESSURE SAFETY VALVE | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | CHM-111-0006-AS00-1"-HI |  | FIELD |  | - |  | - | - |  | 4.5 |  | Barg | BK-GCS-MF-120-IN-DS-0013 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
189 | D-PSV-2117 | PRESSURE SAFETY VALVE | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | CHM-111-0006-AS00-1"-HI |  | FIELD |  | - |  | - | - |  | 4.5 |  | Barg | BK-GCS-MF-120-IN-DS-0013 | - | - | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
190 | D-HST-2103A | M-300-A START COMMAND | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | MCC |  | FIELD |  | IRP |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
191 | D-HSP-2103A | M-300-A STOP COMMAND | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | MCC |  | FIELD |  | IRP |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
192 | D-YL-2103A | M-300-A RUNNING/STOP STATUS | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
193 | D-YXL-2103A | M-300-A LOCAL/REMOTE STATUS | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
194 | D-YA-2103A | M-300-A FAULT STATUS | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
195 | D-YLP-2103A | M-300-A PERMITTED START STATUS | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
196 | D-HST-2103B | M-300-B START COMMAND | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | MCC |  | FIELD |  | IRP |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
197 | D-HSP-2103B | M-300-B STOP COMMAND | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | MCC |  | FIELD |  | IRP |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
198 | D-YL-2103B | M-300-B RUNNING/STOP STATUS | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
199 | D-YXL-2103B | M-300-B LOCAL/REMOTE STATUS | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
200 | D-YA-2103B | M-300-B FAULT STATUS | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
201 | D-YLP-2103B | M-300-B PERMITTED START STATUS | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
202 | D-HST-2103C | MX-200 START COMMAND | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | MCC |  | FIELD |  | IRP |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
203 | D-HSP-2103C | MX-200 STOP COMMAND | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | MCC |  | FIELD |  | IRP |  | DOR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
204 | D-YL-2103C | MX-200 RUNNING/STOP STATUS | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
205 | D-YXL-2103C | MX-200 LOCAL/REMOTE STATUS | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
206 | D-YA-2103C | MX-200 FAULT STATUS | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00
207 | D-YLP-2103C | MX-200 PERMITTED START STATUS | BK-GCS-MF-120-PR-PI-0003 (Page7/7) |  |  | MCC |  | FIELD |  | UCP |  | DIR | EX d |  | - |  | - | - | - | BK-GCS-MF-120-EL-DW-0005 | WILL BE FINALIZED LATER | WILL BE FINALIZED LATER | V00